## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH7 | O2 | 137830555 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:13

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-26 10:04

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
225985 | 2021-10-26 09:42 | 0 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.0799 | μmol/L | 12.5418 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.799 | 145637.9639 | 294031.4474 | 59.9307 | 49.4 | #N/A
225995 | 2021-10-26 09:42 | 0.32689 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.6698 | μmol/L | 12.5295 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.823 | 145833.0909 | 294044.455 | 59.9307 | 49.4 | #N/A
226005 | 2021-10-26 09:42 | 0.65949 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.4585 | μmol/L | 12.511 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.84 | 145961.3857 | 294050.1233 | 59.9307 | 49.4 | #N/A
226015 | 2021-10-26 09:43 | 0.99293 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.1343 | μmol/L | 12.4987 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.86 | 146106.9067 | 294053.8384 | 59.9307 | 49.4 | #N/A
226025 | 2021-10-26 09:43 | 1.3263 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 251.6905 | μmol/L | 12.4987 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.881 | 146275.8859 | 294067.3532 | 59.9307 | 49.4 | #N/A
226035 | 2021-10-26 09:43 | 1.66 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 251.2898 | μmol/L | 12.4987 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.9 | 146403.972 | 294076.8704 | 59.9307 | 49.4 | #N/A
226045 | 2021-10-26 09:44 | 1.9935 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 250.8825 | μmol/L | 12.5048 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.917 | 146551.4996 | 294076.6186 | 59.9307 | 49.4 | #N/A
226055 | 2021-10-26 09:44 | 2.3267 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 250.4833 | μmol/L | 12.5048 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.936 | 146669.9196 | 294071.1602 | 59.9307 | 49.4 | #N/A
226065 | 2021-10-26 09:44 | 2.6595 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 250.2315 | μmol/L | 12.5048 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.948 | 146804.9553 | 294097.0897 | 59.9307 | 49.4 | #N/A
226075 | 2021-10-26 09:45 | 2.9929 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 249.9173 | μmol/L | 12.5048 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.963 | 146908.5206 | 294081.4867 | 59.9307 | 49.4 | #N/A
226085 | 2021-10-26 09:45 | 3.3267 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 249.7289 | μmol/L | 12.5048 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.972 | 146992.3753 | 294095.3839 | 59.9307 | 49.4 | #N/A
226095 | 2021-10-26 09:45 | 3.6601 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 249.4363 | μmol/L | 12.5048 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.986 | 147100.2285 | 294089.7667 | 59.9307 | 49.4 | #N/A
226105 | 2021-10-26 09:46 | 3.9928 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 249.1159 | μmol/L | 12.511 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.999 | 147182.5168 | 294072.715 | 59.9307 | 49.4 | #N/A
226115 | 2021-10-26 09:46 | 4.3262 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 248.7751 | μmol/L | 12.5172 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.013 | 147275.6036 | 294067.5884 | 59.9307 | 49.4 | #N/A
226125 | 2021-10-26 09:46 | 4.6597 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 248.6514 | μmol/L | 12.4987 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.026 | 147361.4353 | 294073.241 | 59.9307 | 49.4 | #N/A
226135 | 2021-10-26 09:47 | 4.9934 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 248.4569 | μmol/L | 12.5048 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.033 | 147425.719 | 294038.8773 | 59.9307 | 49.4 | #N/A
226145 | 2021-10-26 09:47 | 5.3269 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 248.2075 | μmol/L | 12.5048 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.045 | 147520.3904 | 294058.0402 | 59.9307 | 49.4 | #N/A
226155 | 2021-10-26 09:47 | 5.66 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 247.9378 | μmol/L | 12.5048 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.058 | 147591.1839 | 294034.6112 | 59.9307 | 49.4 | #N/A
226165 | 2021-10-26 09:48 | 5.9934 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 247.7098 | μmol/L | 12.5048 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.069 | 147714.281 | 294058.9772 | 59.9307 | 49.4 | #N/A
226175 | 2021-10-26 09:48 | 6.3262 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 247.482 | μmol/L | 12.5048 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.08 | 147768.5656 | 294073.0111 | 59.9307 | 49.4 | #N/A
226185 | 2021-10-26 09:48 | 6.6597 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 247.3519 | μmol/L | 12.4925 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.091 | 147833.0237 | 294068.1688 | 59.9307 | 49.4 | #N/A
226195 | 2021-10-26 09:49 | 6.9935 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 247.1696 | μmol/L | 12.4925 | °C | 992 | hPa | Humid | 28 | 1 | 0 | 24.1 | 147917.8998 | 294073.6106 | 59.9307 | 49.4 | #N/A
226205 | 2021-10-26 09:49 | 7.3262 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 246.9727 | μmol/L | 12.4987 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.107 | 147965.7689 | 294055.9102 | 59.9307 | 49.4 | #N/A
226215 | 2021-10-26 09:49 | 7.6599 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 246.7943 | μmol/L | 12.4925 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.118 | 148025.1732 | 294040.6358 | 59.9307 | 49.4 | #N/A
226225 | 2021-10-26 09:50 | 7.9934 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 246.7118 | μmol/L | 12.4925 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.122 | 148089.2947 | 294050.7294 | 59.9307 | 49.4 | #N/A
226235 | 2021-10-26 09:50 | 8.3267 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 246.3955 | μmol/L | 12.4987 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.135 | 148129.3866 | 294034.3398 | 59.9307 | 49.4 | #N/A
226245 | 2021-10-26 09:50 | 8.6603 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 246.2235 | μmol/L | 12.5048 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.141 | 148167.6255 | 294023.5299 | 59.9307 | 49.4 | #N/A
226255 | 2021-10-26 09:51 | 8.9932 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 245.872 | μmol/L | 12.4925 | °C | 992 | hPa | Humid | 28 | 1 | 0 | 24.163 | 148323.9663 | 294002.7286 | 59.9307 | 49.4 | #N/A
226265 | 2021-10-26 09:51 | 9.3267 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 244.8034 | μmol/L | 12.4925 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.215 | 148646.5307 | 294009.1335 | 59.9307 | 49.4 | #N/A
226275 | 2021-10-26 09:51 | 9.6602 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 243.4097 | μmol/L | 12.4864 | °C | 992 | hPa | Humid | 28 | 1 | 0 | 24.286 | 149161.735 | 294012.1615 | 59.9307 | 49.4 | #N/A
226285 | 2021-10-26 09:52 | 9.9928 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 241.5882 | μmol/L | 12.4864 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.376 | 149806.9487 | 293982.8773 | 59.9307 | 49.4 | #N/A
226295 | 2021-10-26 09:52 | 10.3264 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 240.1689 | μmol/L | 12.4864 | °C | 992 | hPa | Humid | 28 | 1 | 0 | 24.447 | 150268.9939 | 293976.9731 | 59.9307 | 49.4 | #N/A
226305 | 2021-10-26 09:52 | 10.6601 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 239.5979 | μmol/L | 12.4802 | °C | 992 | hPa | Humid | 28 | 1 | 0 | 24.478 | 150485.4381 | 293980.8487 | 59.9307 | 49.4 | #N/A
226315 | 2021-10-26 09:53 | 10.9929 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 238.911 | μmol/L | 12.4864 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.51 | 150721.7489 | 294003.3114 | 59.9307 | 49.4 | #N/A
226325 | 2021-10-26 09:53 | 11.3264 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 238.0667 | μmol/L | 12.4802 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.555 | 151080.2094 | 294018.2722 | 59.9307 | 49.4 | #N/A
226335 | 2021-10-26 09:53 | 11.6601 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 237.0918 | μmol/L | 12.474 | °C | 992 | hPa | Humid | 28 | 1 | 0 | 24.607 | 151445.4331 | 294027.6663 | 59.9307 | 49.4 | #N/A
226345 | 2021-10-26 09:54 | 11.9928 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 236.0055 | μmol/L | 12.4802 | °C | 992 | hPa | Humid | 28 | 1 | 0 | 24.66 | 151807.1199 | 294049.4682 | 59.9307 | 49.4 | #N/A
226355 | 2021-10-26 09:54 | 12.3265 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 234.9751 | μmol/L | 12.474 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.715 | 152206.7081 | 294088.8606 | 59.9307 | 49.4 | #N/A
226365 | 2021-10-26 09:54 | 12.66 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 234.2174 | μmol/L | 12.474 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.754 | 152483.8836 | 294102.6406 | 59.9307 | 49.4 | #N/A
226375 | 2021-10-26 09:55 | 12.9935 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 233.8687 | μmol/L | 12.474 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.772 | 152629.1179 | 294100.8725 | 59.9307 | 49.4 | #N/A
226385 | 2021-10-26 09:55 | 13.3261 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 233.5315 | μmol/L | 12.4679 | °C | 992 | hPa | Humid | 28 | 1 | 0 | 24.792 | 152801.634 | 294095.3996 | 59.9307 | 49.4 | #N/A
226395 | 2021-10-26 09:55 | 13.6598 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 233.1033 | μmol/L | 12.4679 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.814 | 152948.141 | 294111.7464 | 59.9307 | 49.4 | #N/A
226405 | 2021-10-26 09:56 | 13.9935 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.5449 | μmol/L | 12.4679 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.843 | 153157.1993 | 294126.3875 | 59.9307 | 49.4 | #N/A
226415 | 2021-10-26 09:56 | 14.3262 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.9497 | μmol/L | 12.4679 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.874 | 153381.4177 | 294133.5361 | 59.9307 | 49.4 | #N/A
226425 | 2021-10-26 09:56 | 14.6598 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.5814 | μmol/L | 12.4556 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.898 | 153546.982 | 294124.994 | 59.9307 | 49.4 | #N/A
226435 | 2021-10-26 09:57 | 14.9934 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.863 | μmol/L | 12.4494 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.938 | 153843.9082 | 294138.3957 | 59.9307 | 49.4 | #N/A
226445 | 2021-10-26 09:57 | 15.3263 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.2159 | μmol/L | 12.4494 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.972 | 154093.105 | 294134.2729 | 59.9307 | 49.4 | #N/A
226455 | 2021-10-26 09:57 | 15.66 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.7224 | μmol/L | 12.4494 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.998 | 154271.6982 | 294131.7619 | 59.9307 | 49.4 | #N/A
226465 | 2021-10-26 09:58 | 15.9929 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.5856 | μmol/L | 12.4371 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 25.01 | 154386.4555 | 294155.848 | 59.9307 | 49.4 | #N/A
226475 | 2021-10-26 09:58 | 16.3263 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.4605 | μmol/L | 12.4309 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 25.019 | 154427.986 | 294149.3701 | 59.9307 | 49.4 | #N/A
226485 | 2021-10-26 09:58 | 16.6598 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.5247 | μmol/L | 12.4248 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 25.018 | 154450.364 | 294146.921 | 59.9307 | 49.4 | #N/A
226495 | 2021-10-26 09:59 | 16.9933 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.8848 | μmol/L | 12.4248 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.999 | 154290.9028 | 294162.1677 | 59.9307 | 49.4 | #N/A
226505 | 2021-10-26 09:59 | 17.3268 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.3331 | μmol/L | 12.4309 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.973 | 154141.2382 | 294168.4671 | 59.9307 | 49.4 | #N/A
226515 | 2021-10-26 09:59 | 17.6597 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.2529 | μmol/L | 12.4186 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.982 | 154219.1407 | 294170.9202 | 59.9307 | 49.4 | #N/A
226525 | 2021-10-26 10:00 | 17.993 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.8732 | μmol/L | 12.4186 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 25.002 | 154338.6004 | 294171.9236 | 59.9307 | 49.4 | #N/A
226535 | 2021-10-26 10:00 | 18.3265 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.8848 | μmol/L | 12.4248 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.999 | 154331.2703 | 294194.7103 | 59.9307 | 49.4 | #N/A
226545 | 2021-10-26 10:00 | 18.66 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.3025 | μmol/L | 12.4248 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.977 | 154171.3949 | 294194.6744 | 59.9307 | 49.4 | #N/A
226555 | 2021-10-26 10:01 | 18.9934 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.0102 | μmol/L | 12.4063 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.947 | 153972.5029 | 294205.5105 | 59.9307 | 49.4 | #N/A
226565 | 2021-10-26 10:01 | 19.3268 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.7172 | μmol/L | 12.4063 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.91 | 153722.7862 | 294232.4519 | 59.9307 | 49.4 | #N/A
226575 | 2021-10-26 10:01 | 19.6594 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.5154 | μmol/L | 12.4124 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.866 | 153421.2395 | 294234.5226 | 59.9307 | 49.4 | #N/A
226585 | 2021-10-26 10:02 | 19.993 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 233.2931 | μmol/L | 12.4063 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.828 | 153152.2238 | 294228.1955 | 59.9307 | 49.4 | #N/A
226595 | 2021-10-26 10:02 | 20.3262 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 233.9427 | μmol/L | 12.4124 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.792 | 152907.9493 | 294230.6675 | 59.9307 | 49.4 | #N/A
226605 | 2021-10-26 10:02 | 20.6598 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 234.6482 | μmol/L | 12.4063 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.758 | 152678.4921 | 294246.9668 | 59.9307 | 49.4 | #N/A
226615 | 2021-10-26 10:03 | 20.9932 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 235.1734 | μmol/L | 12.4063 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.731 | 152489.3606 | 294234.271 | 59.9307 | 49.4 | #N/A