## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH7 | O2 | 137830555 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:13

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-26 10:37

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
226625 | 2021-10-26 10:15 | 0 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.8525 | μmol/L | 12.5911 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.744 | 147232.9023 | 294208.9876 | 59.9307 | 49.4 | #N/A
226635 | 2021-10-26 10:16 | 0.34011 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.4188 | μmol/L | 12.5972 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.762 | 147368.2186 | 294221.6369 | 59.9307 | 49.4 | #N/A
226645 | 2021-10-26 10:16 | 0.6736 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.0716 | μmol/L | 12.5849 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.783 | 147511.4393 | 294235.4756 | 59.9307 | 49.4 | #N/A
226655 | 2021-10-26 10:16 | 1.0071 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.7674 | μmol/L | 12.5726 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.802 | 147654.467 | 294243.6234 | 59.9307 | 49.4 | #N/A
226665 | 2021-10-26 10:17 | 1.3402 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.4564 | μmol/L | 12.5664 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.819 | 147779.417 | 294243.4794 | 59.9307 | 49.4 | #N/A
226675 | 2021-10-26 10:17 | 1.673 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.3438 | μmol/L | 12.5541 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.829 | 147871.0024 | 294254.9428 | 59.9307 | 49.4 | #N/A
226685 | 2021-10-26 10:17 | 2.0068 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 251.8988 | μmol/L | 12.5726 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.843 | 147906.5268 | 294223.0684 | 59.9307 | 49.4 | #N/A
226695 | 2021-10-26 10:18 | 2.3404 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 251.574 | μmol/L | 12.5972 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.849 | 147975.9685 | 294224.668 | 59.9307 | 49.4 | #N/A
226705 | 2021-10-26 10:18 | 2.6737 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 251.2853 | μmol/L | 12.6095 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.858 | 148042.9883 | 294218.6464 | 59.9307 | 49.4 | #N/A
226715 | 2021-10-26 10:18 | 3.0063 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 250.983 | μmol/L | 12.6157 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.87 | 148121.8993 | 294216.5974 | 59.9307 | 49.4 | #N/A
226725 | 2021-10-26 10:19 | 3.3397 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 250.674 | μmol/L | 12.628 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.88 | 148189.2388 | 294192.245 | 59.9307 | 49.4 | #N/A
226735 | 2021-10-26 10:19 | 3.6733 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 250.4009 | μmol/L | 12.628 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.893 | 148254.5962 | 294171.4356 | 59.9307 | 49.4 | #N/A
226745 | 2021-10-26 10:19 | 4.0069 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 250.2539 | μmol/L | 12.628 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.9 | 148329.6103 | 294182.7021 | 59.9307 | 49.4 | #N/A
226755 | 2021-10-26 10:20 | 4.3401 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 250.1634 | μmol/L | 12.6157 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.909 | 148383.6017 | 294149.1809 | 59.9307 | 49.4 | #N/A
226765 | 2021-10-26 10:20 | 4.6732 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 250.0239 | μmol/L | 12.6095 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.918 | 148427.402 | 294137.619 | 59.9307 | 49.4 | #N/A
226775 | 2021-10-26 10:20 | 5.0065 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 249.8635 | μmol/L | 12.6034 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.928 | 148482.1239 | 294119.6392 | 59.9307 | 49.4 | #N/A
226785 | 2021-10-26 10:21 | 5.3399 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 249.696 | μmol/L | 12.6034 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.936 | 148545.0151 | 294098.0695 | 59.9307 | 49.4 | #N/A
226795 | 2021-10-26 10:21 | 5.6736 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 249.4378 | μmol/L | 12.6095 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.946 | 148602.1118 | 294090.2223 | 59.9307 | 49.4 | #N/A
226805 | 2021-10-26 10:21 | 6.0063 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 249.3406 | μmol/L | 12.6034 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.953 | 148629.9146 | 294066.9667 | 59.9307 | 49.4 | #N/A
226815 | 2021-10-26 10:22 | 6.3399 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 249.1944 | μmol/L | 12.6034 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.96 | 148659.6792 | 294027.9245 | 59.9307 | 49.4 | #N/A
226825 | 2021-10-26 10:22 | 6.6738 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 248.9994 | μmol/L | 12.6095 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.967 | 148688.9615 | 294026.2758 | 59.9307 | 49.4 | #N/A
226835 | 2021-10-26 10:22 | 7.0065 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 248.8951 | μmol/L | 12.6095 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.972 | 148721.2126 | 294011.4457 | 59.9307 | 49.4 | #N/A
226845 | 2021-10-26 10:23 | 7.3397 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 248.6659 | μmol/L | 12.6095 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.983 | 148715.2841 | 293968.5249 | 59.9307 | 49.4 | #N/A
226855 | 2021-10-26 10:23 | 7.6733 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 248.6732 | μmol/L | 12.6034 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.985 | 148759.297 | 293984.897 | 59.9307 | 49.4 | #N/A
226865 | 2021-10-26 10:23 | 8.0063 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 248.5899 | μmol/L | 12.6034 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.989 | 148725.346 | 293958.4785 | 59.9307 | 49.4 | #N/A
226875 | 2021-10-26 10:24 | 8.34 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 248.3954 | μmol/L | 12.6095 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.996 | 148789.9731 | 293927.8108 | 59.9307 | 49.4 | #N/A
226885 | 2021-10-26 10:24 | 8.6734 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 248.305 | μmol/L | 12.6157 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.998 | 148802.4629 | 293907.0567 | 59.9307 | 49.4 | #N/A
226895 | 2021-10-26 10:24 | 9.0068 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 248.2291 | μmol/L | 12.6095 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.004 | 148823.0768 | 293919.7924 | 59.9307 | 49.4 | #N/A
226905 | 2021-10-26 10:25 | 9.3399 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 248.0764 | μmol/L | 12.6157 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.009 | 148874.1873 | 293927.3193 | 59.9307 | 49.4 | #N/A
226915 | 2021-10-26 10:25 | 9.6734 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 248.0421 | μmol/L | 12.6095 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.013 | 148865.9154 | 293928.4422 | 59.9307 | 49.4 | #N/A
226925 | 2021-10-26 10:25 | 10.0066 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 247.8481 | μmol/L | 12.6157 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.02 | 148894.2484 | 293924.9332 | 59.9307 | 49.4 | #N/A
226935 | 2021-10-26 10:26 | 10.3404 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 247.8761 | μmol/L | 12.6095 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.021 | 148940.4855 | 293904.5409 | 59.9307 | 49.4 | #N/A
226945 | 2021-10-26 10:26 | 10.6737 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 247.6957 | μmol/L | 12.6219 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.025 | 148958.6984 | 293926.5192 | 59.9307 | 49.4 | #N/A
226955 | 2021-10-26 10:26 | 11.0066 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 247.5714 | μmol/L | 12.6219 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.031 | 148990.9536 | 293923.2645 | 59.9307 | 49.4 | #N/A
226965 | 2021-10-26 10:27 | 11.3406 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 247.4057 | μmol/L | 12.6219 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.039 | 149064.7226 | 293913.3554 | 59.9307 | 49.4 | #N/A
226975 | 2021-10-26 10:27 | 11.6737 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 247.082 | μmol/L | 12.6157 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.057 | 149158.0713 | 293910.801 | 59.9307 | 49.4 | #N/A
226985 | 2021-10-26 10:27 | 12.0067 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 246.6205 | μmol/L | 12.6219 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.077 | 149292.0991 | 293894.8834 | 59.9307 | 49.4 | #N/A
226995 | 2021-10-26 10:28 | 12.3397 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 246.1334 | μmol/L | 12.6157 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.103 | 149457.6147 | 293884.5075 | 59.9307 | 49.4 | #N/A
227005 | 2021-10-26 10:28 | 12.6737 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 245.7429 | μmol/L | 12.6157 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.122 | 149587.8615 | 293876.4395 | 59.9307 | 49.4 | #N/A
227015 | 2021-10-26 10:28 | 13.0068 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 245.2639 | μmol/L | 12.6219 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.143 | 149759.1959 | 293875.0041 | 59.9307 | 49.4 | #N/A
227025 | 2021-10-26 10:29 | 13.3404 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 244.8485 | μmol/L | 12.6095 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.168 | 149920.4059 | 293849.0103 | 59.9307 | 49.4 | #N/A
227035 | 2021-10-26 10:29 | 13.6738 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 244.3716 | μmol/L | 12.6157 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.189 | 150069.8399 | 293850.8013 | 59.9307 | 49.4 | #N/A
227045 | 2021-10-26 10:29 | 14.0071 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 244.1342 | μmol/L | 12.6095 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.203 | 150122.9429 | 293811.9777 | 59.9307 | 49.4 | #N/A
227055 | 2021-10-26 10:30 | 14.3401 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 244.0658 | μmol/L | 12.6157 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.204 | 150125.9916 | 293809.1556 | 59.9307 | 49.4 | #N/A
227065 | 2021-10-26 10:30 | 14.6734 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 244.1881 | μmol/L | 12.6157 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.198 | 150071.3925 | 293809.8019 | 59.9307 | 49.4 | #N/A
227075 | 2021-10-26 10:30 | 15.0065 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 244.2216 | μmol/L | 12.6219 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.194 | 150042.853 | 293774.9896 | 59.9307 | 49.4 | #N/A
227085 | 2021-10-26 10:31 | 15.3401 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 244.338 | μmol/L | 12.6095 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.193 | 149997.9455 | 293759.61 | 59.9307 | 49.4 | #N/A
227095 | 2021-10-26 10:31 | 15.6735 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 244.2696 | μmol/L | 12.6157 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.194 | 149993.5292 | 293743.954 | 59.9307 | 49.4 | #N/A
227105 | 2021-10-26 10:31 | 16.0071 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 244.2288 | μmol/L | 12.6157 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.196 | 149979.2852 | 293728.5586 | 59.9307 | 49.4 | #N/A
227115 | 2021-10-26 10:32 | 16.3399 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 244.0862 | μmol/L | 12.6157 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.203 | 150004.0573 | 293739.9584 | 59.9307 | 49.4 | #N/A
227125 | 2021-10-26 10:32 | 16.6735 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 243.9436 | μmol/L | 12.6157 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.21 | 150048.9325 | 293699.9531 | 59.9307 | 49.4 | #N/A
227135 | 2021-10-26 10:32 | 17.0065 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 243.7605 | μmol/L | 12.6157 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.219 | 150109.683 | 293692.729 | 59.9307 | 49.4 | #N/A
227145 | 2021-10-26 10:33 | 17.3403 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 243.4353 | μmol/L | 12.6157 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.235 | 150179.4684 | 293673.8876 | 59.9307 | 49.4 | #N/A
227155 | 2021-10-26 10:33 | 17.6732 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 243.3817 | μmol/L | 12.6095 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.24 | 150243.4661 | 293665.4254 | 59.9307 | 49.4 | #N/A
227165 | 2021-10-26 10:33 | 18.0066 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 243.1715 | μmol/L | 12.6157 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.248 | 150269.1648 | 293641.1421 | 59.9307 | 49.4 | #N/A
227175 | 2021-10-26 10:34 | 18.3404 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 243.0904 | μmol/L | 12.6157 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.252 | 150293.277 | 293639.9886 | 59.9307 | 49.4 | #N/A
227185 | 2021-10-26 10:34 | 18.6734 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 243.0093 | μmol/L | 12.6157 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.256 | 150282.4049 | 293612.4669 | 59.9307 | 49.4 | #N/A
227195 | 2021-10-26 10:34 | 19.0067 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 242.9558 | μmol/L | 12.6095 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.261 | 150277.4225 | 293600.8163 | 59.9307 | 49.4 | #N/A
227205 | 2021-10-26 10:35 | 19.3396 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 242.8878 | μmol/L | 12.6157 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.262 | 150283.042 | 293586.8115 | 59.9307 | 49.4 | #N/A
227215 | 2021-10-26 10:35 | 19.6732 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 242.8473 | μmol/L | 12.6157 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.264 | 150287.5451 | 293586.7218 | 59.9307 | 49.4 | #N/A
227225 | 2021-10-26 10:35 | 20.0071 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 242.8748 | μmol/L | 12.6095 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.265 | 150297.0398 | 293600.4132 | 59.9307 | 49.4 | #N/A
227235 | 2021-10-26 10:36 | 20.34 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 242.733 | μmol/L | 12.6095 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.272 | 150317.1358 | 293616.2472 | 59.9307 | 49.4 | #N/A
227245 | 2021-10-26 10:36 | 20.6734 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 242.6723 | μmol/L | 12.6095 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.275 | 150381.3604 | 293604.5209 | 59.9307 | 49.4 | #N/A