## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-26 11:09

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
227250 | 2021-10-26 10:46 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.9202 | μmol/L | 12.3682 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.744 | 138726.2428 | 299228.71 | 59.9307 | 38.1 | #N/A
227260 | 2021-10-26 10:46 | 0.34153 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.6926 | μmol/L | 12.3804 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.75 | 138720.1131 | 299218.4191 | 59.9307 | 38.1 | #N/A
227270 | 2021-10-26 10:47 | 0.67513 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.5431 | μmol/L | 12.3804 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.757 | 138759.8355 | 299231.7693 | 59.9307 | 38.1 | #N/A
227280 | 2021-10-26 10:47 | 1.0081 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.4577 | μmol/L | 12.3804 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.761 | 138753.8822 | 299217.3886 | 59.9307 | 38.1 | #N/A
227290 | 2021-10-26 10:47 | 1.3415 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.2451 | μmol/L | 12.3987 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.764 | 138767.2985 | 299237.3702 | 59.9307 | 38.1 | #N/A
227300 | 2021-10-26 10:48 | 1.6753 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.0182 | μmol/L | 12.4109 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.77 | 138776.5432 | 299249.0024 | 59.9307 | 38.1 | #N/A
227310 | 2021-10-26 10:48 | 2.0089 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.9679 | μmol/L | 12.3987 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.777 | 138821.1869 | 299257.1377 | 59.9307 | 38.1 | #N/A
227320 | 2021-10-26 10:48 | 2.3419 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.9322 | μmol/L | 12.3926 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.781 | 138845.2482 | 299255.698 | 59.9307 | 38.1 | #N/A
227330 | 2021-10-26 10:49 | 2.6749 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.7831 | μmol/L | 12.3926 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.788 | 138875.6038 | 299264.416 | 59.9307 | 38.1 | #N/A
227340 | 2021-10-26 10:49 | 3.0088 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.6554 | μmol/L | 12.3926 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.794 | 138892.7806 | 299255.2171 | 59.9307 | 38.1 | #N/A
227350 | 2021-10-26 10:49 | 3.3415 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.6836 | μmol/L | 12.3865 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.795 | 138920.2671 | 299293.7919 | 59.9307 | 38.1 | #N/A
227360 | 2021-10-26 10:50 | 3.6753 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.4641 | μmol/L | 12.3926 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.803 | 138964.0496 | 299296.3403 | 59.9307 | 38.1 | #N/A
227370 | 2021-10-26 10:50 | 4.0084 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.5628 | μmol/L | 12.3804 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.803 | 139007.715 | 299308.7381 | 59.9307 | 38.1 | #N/A
227380 | 2021-10-26 10:50 | 4.3414 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.7317 | μmol/L | 12.3438 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.809 | 139025.1181 | 299336.5179 | 59.9307 | 38.1 | #N/A
227390 | 2021-10-26 10:51 | 4.6751 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.6185 | μmol/L | 12.3499 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.812 | 139052.2609 | 299343.4181 | 59.9307 | 38.1 | #N/A
227400 | 2021-10-26 10:51 | 5.008 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.4347 | μmol/L | 12.3621 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.816 | 139101.8539 | 299343.4383 | 59.9307 | 38.1 | #N/A
227410 | 2021-10-26 10:51 | 5.3415 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.2579 | μmol/L | 12.3682 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.822 | 139145.7589 | 299335.3005 | 59.9307 | 38.1 | #N/A
227420 | 2021-10-26 10:52 | 5.6754 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.0744 | μmol/L | 12.3804 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.826 | 139164.1691 | 299310.3535 | 59.9307 | 38.1 | #N/A
227430 | 2021-10-26 10:52 | 6.0088 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.0812 | μmol/L | 12.3743 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.828 | 139180.1899 | 299306.453 | 59.9307 | 38.1 | #N/A
227440 | 2021-10-26 10:52 | 6.3417 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.8904 | μmol/L | 12.3743 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.837 | 139190.3422 | 299305.2243 | 59.9307 | 38.1 | #N/A
227450 | 2021-10-26 10:53 | 6.6749 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.9185 | μmol/L | 12.3682 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.838 | 139166.8147 | 299285.8731 | 59.9307 | 38.1 | #N/A
227460 | 2021-10-26 10:53 | 7.0081 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.9466 | μmol/L | 12.3621 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.839 | 139193.235 | 299282.2537 | 59.9307 | 38.1 | #N/A
227470 | 2021-10-26 10:53 | 7.3417 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.9603 | μmol/L | 12.3499 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.843 | 139160.9583 | 299271.4785 | 59.9307 | 38.1 | #N/A
227480 | 2021-10-26 10:54 | 7.6747 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.8687 | μmol/L | 12.356 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.845 | 139183.8545 | 299255.2928 | 59.9307 | 38.1 | #N/A
227490 | 2021-10-26 10:54 | 8.0081 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.7702 | μmol/L | 12.3682 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.845 | 139176.8931 | 299251.5642 | 59.9307 | 38.1 | #N/A
227500 | 2021-10-26 10:54 | 8.3418 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.6225 | μmol/L | 12.3865 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.845 | 139150.8021 | 299236.7886 | 59.9307 | 38.1 | #N/A
227510 | 2021-10-26 10:55 | 8.6749 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.5802 | μmol/L | 12.3865 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.847 | 139160.3896 | 299238.6819 | 59.9307 | 38.1 | #N/A
227520 | 2021-10-26 10:55 | 9.0082 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.5802 | μmol/L | 12.3865 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.847 | 139195.1765 | 299260.811 | 59.9307 | 38.1 | #N/A
227530 | 2021-10-26 10:55 | 9.3415 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.4601 | μmol/L | 12.3804 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.855 | 139226.0815 | 299266.9016 | 59.9307 | 38.1 | #N/A
227540 | 2021-10-26 10:56 | 9.6753 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.3687 | μmol/L | 12.3865 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.857 | 139242.6664 | 299249.7149 | 59.9307 | 38.1 | #N/A
227550 | 2021-10-26 10:56 | 10.0084 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.5871 | μmol/L | 12.3804 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.849 | 139225.0812 | 299257.4849 | 59.9307 | 38.1 | #N/A
227560 | 2021-10-26 10:56 | 10.342 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.5447 | μmol/L | 12.3804 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.851 | 139217.7254 | 299257.8241 | 59.9307 | 38.1 | #N/A
227570 | 2021-10-26 10:57 | 10.6752 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.3544 | μmol/L | 12.3804 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.86 | 139230.3281 | 299244.283 | 59.9307 | 38.1 | #N/A
227580 | 2021-10-26 10:57 | 11.008 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.2767 | μmol/L | 12.3743 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.866 | 139265.5785 | 299253.5828 | 59.9307 | 38.1 | #N/A
227590 | 2021-10-26 10:57 | 11.3419 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.2133 | μmol/L | 12.3743 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.869 | 139300.9897 | 299254.5663 | 59.9307 | 38.1 | #N/A
227600 | 2021-10-26 10:58 | 11.675 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.1357 | μmol/L | 12.3682 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.875 | 139329.73 | 299247.1987 | 59.9307 | 38.1 | #N/A
227610 | 2021-10-26 10:58 | 12.0084 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.0375 | μmol/L | 12.3804 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.875 | 139349.1026 | 299250.8264 | 59.9307 | 38.1 | #N/A
227620 | 2021-10-26 10:58 | 12.3415 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 250.8619 | μmol/L | 12.3865 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.881 | 139362.6246 | 299263.8813 | 59.9307 | 38.1 | #N/A
227630 | 2021-10-26 10:59 | 12.6752 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 250.8408 | μmol/L | 12.3865 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.882 | 139383.6917 | 299283.7324 | 59.9307 | 38.1 | #N/A
227640 | 2021-10-26 10:59 | 12.984 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 250.8545 | μmol/L | 12.3743 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.886 | 139424.4039 | 299273.1695 | 59.9307 | 38.1 | #N/A
227650 | 2021-10-26 10:59 | 13.325 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 250.728 | μmol/L | 12.3743 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.892 | 139446.6515 | 299264.0462 | 59.9307 | 38.1 | #N/A
227660 | 2021-10-26 11:00 | 13.6585 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 250.7702 | μmol/L | 12.3743 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.89 | 139463.0557 | 299283.0572 | 59.9307 | 38.1 | #N/A
227670 | 2021-10-26 11:00 | 13.9917 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 250.6575 | μmol/L | 12.3621 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.9 | 139488.4745 | 299287.5888 | 59.9307 | 38.1 | #N/A
227680 | 2021-10-26 11:00 | 14.3247 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 250.6016 | μmol/L | 12.3743 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.898 | 139518.9384 | 299290.45 | 59.9307 | 38.1 | #N/A
227690 | 2021-10-26 11:01 | 14.6582 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 250.5874 | μmol/L | 12.3682 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.901 | 139537.0838 | 299311.2112 | 59.9307 | 38.1 | #N/A
227700 | 2021-10-26 11:01 | 14.9919 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 250.419 | μmol/L | 12.3682 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.909 | 139556.1595 | 299302.008 | 59.9307 | 38.1 | #N/A
227710 | 2021-10-26 11:01 | 15.3248 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 250.4611 | μmol/L | 12.3682 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.907 | 139586.0362 | 299310.7408 | 59.9307 | 38.1 | #N/A
227720 | 2021-10-26 11:02 | 15.6589 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 250.2159 | μmol/L | 12.3804 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.914 | 139617.3263 | 299304.9468 | 59.9307 | 38.1 | #N/A
227730 | 2021-10-26 11:02 | 15.9915 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 250.2018 | μmol/L | 12.3743 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.917 | 139641.3783 | 299310.6714 | 59.9307 | 38.1 | #N/A
227740 | 2021-10-26 11:02 | 16.3251 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 250.1456 | μmol/L | 12.3682 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.922 | 139668.4728 | 299325.7083 | 59.9307 | 38.1 | #N/A
227750 | 2021-10-26 11:03 | 16.6584 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 250.1387 | μmol/L | 12.3743 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.92 | 139683.6158 | 299319.8496 | 59.9307 | 38.1 | #N/A
227760 | 2021-10-26 11:03 | 16.9917 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 250.0898 | μmol/L | 12.3804 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.92 | 139696.5829 | 299349.2671 | 59.9307 | 38.1 | #N/A
227770 | 2021-10-26 11:03 | 17.3248 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 249.9779 | μmol/L | 12.3865 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.923 | 139746.288 | 299371.9561 | 59.9307 | 38.1 | #N/A
227780 | 2021-10-26 11:04 | 17.6581 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 249.9916 | μmol/L | 12.3743 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.927 | 139758.1715 | 299388.0955 | 59.9307 | 38.1 | #N/A
227790 | 2021-10-26 11:04 | 17.9918 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 249.824 | μmol/L | 12.3926 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.928 | 139778.5746 | 299384.1779 | 59.9307 | 38.1 | #N/A
227800 | 2021-10-26 11:04 | 18.3251 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 249.8237 | μmol/L | 12.3743 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.935 | 139817.0502 | 299395.8405 | 59.9307 | 38.1 | #N/A
227810 | 2021-10-26 11:05 | 18.6583 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 249.9218 | μmol/L | 12.3804 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.928 | 139796.8758 | 299418.2428 | 59.9307 | 38.1 | #N/A
227820 | 2021-10-26 11:05 | 18.9914 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 249.551 | μmol/L | 12.3743 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.948 | 139937.3047 | 299438.3729 | 59.9307 | 38.1 | #N/A
227830 | 2021-10-26 11:05 | 19.3247 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 249.2303 | μmol/L | 12.3987 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.954 | 139978.9551 | 299445.46 | 59.9307 | 38.1 | #N/A
227840 | 2021-10-26 11:06 | 19.6583 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 249.1257 | μmol/L | 12.3987 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.959 | 140015.6723 | 299460.1949 | 59.9307 | 38.1 | #N/A
227850 | 2021-10-26 11:06 | 19.9919 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 249.1535 | μmol/L | 12.3926 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.96 | 140043.1863 | 299450.6104 | 59.9307 | 38.1 | #N/A
227860 | 2021-10-26 11:06 | 20.3252 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 248.9653 | μmol/L | 12.3926 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.969 | 140085.0839 | 299456.0585 | 59.9307 | 38.1 | #N/A
227870 | 2021-10-26 11:07 | 20.6586 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 248.652 | μmol/L | 12.3926 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.984 | 140182.6368 | 299461.4708 | 59.9307 | 38.1 | #N/A
227880 | 2021-10-26 11:07 | 20.9918 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 248.624 | μmol/L | 12.3804 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.99 | 140220.063 | 299442.8091 | 59.9307 | 38.1 | #N/A
227890 | 2021-10-26 11:07 | 21.3252 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 248.5616 | μmol/L | 12.3987 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.986 | 140219.5628 | 299461.5457 | 59.9307 | 38.1 | #N/A
227900 | 2021-10-26 11:08 | 21.6582 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 248.4016 | μmol/L | 12.3926 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.996 | 140308.7903 | 299469.3025 | 59.9307 | 38.1 | #N/A
227910 | 2021-10-26 11:08 | 21.9917 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 248.1725 | μmol/L | 12.3926 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.007 | 140359.4941 | 299483.3273 | 59.9307 | 38.1 | #N/A
227920 | 2021-10-26 11:08 | 22.3249 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 247.7495 | μmol/L | 12.3987 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.025 | 140518.1805 | 299488.5545 | 59.9307 | 38.1 | #N/A