## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-26 11:09

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
227254 | 2021-10-26 10:46 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.3747 | μmol/L | 12.3447 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.104 | 108381.4378 | 303253.26 | 30.45 | 114.2 | #N/A
227264 | 2021-10-26 10:46 | 0.336 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.1472 | μmol/L | 12.3447 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.115 | 108443.1459 | 303268.004 | 30.45 | 114.2 | #N/A
227274 | 2021-10-26 10:47 | 0.66945 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 246.7888 | μmol/L | 12.3508 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.13 | 108495.8287 | 303260.2174 | 30.45 | 114.2 | #N/A
227284 | 2021-10-26 10:47 | 1.003 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 246.6104 | μmol/L | 12.3447 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.141 | 108530.6594 | 303256.3955 | 30.45 | 114.2 | #N/A
227294 | 2021-10-26 10:47 | 1.3363 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 246.4661 | μmol/L | 12.3447 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.148 | 108578.9521 | 303274.42 | 30.45 | 114.2 | #N/A
227304 | 2021-10-26 10:48 | 1.6694 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 246.219 | μmol/L | 12.3447 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.16 | 108608.7447 | 303285.1338 | 30.45 | 114.2 | #N/A
227314 | 2021-10-26 10:48 | 2.0025 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 246.0339 | μmol/L | 12.3447 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.169 | 108642.5523 | 303287.9484 | 30.45 | 114.2 | #N/A
227324 | 2021-10-26 10:48 | 2.3365 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.8489 | μmol/L | 12.3447 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.178 | 108699.0063 | 303299.2908 | 30.45 | 114.2 | #N/A
227334 | 2021-10-26 10:49 | 2.6696 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.7052 | μmol/L | 12.3447 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.185 | 108732.751 | 303313.526 | 30.45 | 114.2 | #N/A
227344 | 2021-10-26 10:49 | 3.0032 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.5748 | μmol/L | 12.3508 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.189 | 108762.1484 | 303339.7263 | 30.45 | 114.2 | #N/A
227354 | 2021-10-26 10:49 | 3.3361 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.4517 | μmol/L | 12.3508 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.195 | 108808.2318 | 303351.6049 | 30.45 | 114.2 | #N/A
227364 | 2021-10-26 10:50 | 3.6695 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.1649 | μmol/L | 12.3508 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.209 | 108867.1952 | 303369.4236 | 30.45 | 114.2 | #N/A
227374 | 2021-10-26 10:50 | 4.003 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.9807 | μmol/L | 12.3508 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.218 | 108907.5005 | 303380.8749 | 30.45 | 114.2 | #N/A
227384 | 2021-10-26 10:50 | 4.3361 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.8098 | μmol/L | 12.3569 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.224 | 108943.6855 | 303396.8565 | 30.45 | 114.2 | #N/A
227394 | 2021-10-26 10:51 | 4.6696 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.6872 | μmol/L | 12.3569 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.23 | 108976.5454 | 303402.3368 | 30.45 | 114.2 | #N/A
227404 | 2021-10-26 10:51 | 5.0029 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.6536 | μmol/L | 12.3508 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.234 | 109011.898 | 303408.4119 | 30.45 | 114.2 | #N/A
227414 | 2021-10-26 10:51 | 5.3364 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.4698 | μmol/L | 12.3508 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.243 | 109048.6851 | 303371.8012 | 30.45 | 114.2 | #N/A
227424 | 2021-10-26 10:52 | 5.6692 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.4771 | μmol/L | 12.3447 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.245 | 109079.7301 | 303373.0666 | 30.45 | 114.2 | #N/A
227434 | 2021-10-26 10:52 | 6.0024 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.2251 | μmol/L | 12.3508 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.255 | 109094.9369 | 303351.2837 | 30.45 | 114.2 | #N/A
227444 | 2021-10-26 10:52 | 6.3358 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.1232 | μmol/L | 12.3508 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.26 | 109105.8904 | 303332.8135 | 30.45 | 114.2 | #N/A
227454 | 2021-10-26 10:53 | 6.6696 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.1639 | μmol/L | 12.3508 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.258 | 109111.8065 | 303324.3242 | 30.45 | 114.2 | #N/A
227464 | 2021-10-26 10:53 | 7.0031 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.1232 | μmol/L | 12.3508 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.26 | 109124.6611 | 303319.9902 | 30.45 | 114.2 | #N/A
227474 | 2021-10-26 10:53 | 7.3363 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.9399 | μmol/L | 12.3508 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.269 | 109140.7961 | 303301.7576 | 30.45 | 114.2 | #N/A
227484 | 2021-10-26 10:54 | 7.6694 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.8382 | μmol/L | 12.3508 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.274 | 109177.3646 | 303272.3198 | 30.45 | 114.2 | #N/A
227494 | 2021-10-26 10:54 | 8.0027 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.7844 | μmol/L | 12.3447 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.279 | 109187.2249 | 303266.5835 | 30.45 | 114.2 | #N/A
227504 | 2021-10-26 10:54 | 8.3362 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.9006 | μmol/L | 12.3324 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.278 | 109190.1112 | 303267.2959 | 30.45 | 114.2 | #N/A
227514 | 2021-10-26 10:55 | 8.6691 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.7045 | μmol/L | 12.3263 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.29 | 109205.0256 | 303257.4844 | 30.45 | 114.2 | #N/A
227524 | 2021-10-26 10:55 | 9.0029 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.6769 | μmol/L | 12.3324 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.289 | 109238.9492 | 303279.0522 | 30.45 | 114.2 | #N/A
227534 | 2021-10-26 10:55 | 9.3361 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.5753 | μmol/L | 12.3324 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.294 | 109256.5619 | 303259.75 | 30.45 | 114.2 | #N/A
227544 | 2021-10-26 10:56 | 9.6691 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.5346 | μmol/L | 12.3324 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.296 | 109276.8747 | 303246.7271 | 30.45 | 114.2 | #N/A
227554 | 2021-10-26 10:56 | 10.003 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.4606 | μmol/L | 12.3263 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.302 | 109295.8301 | 303238.2132 | 30.45 | 114.2 | #N/A
227564 | 2021-10-26 10:56 | 10.3358 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.2635 | μmol/L | 12.3385 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.307 | 109307.5955 | 303230.409 | 30.45 | 114.2 | #N/A
227574 | 2021-10-26 10:57 | 10.6691 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.1418 | μmol/L | 12.3385 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.313 | 109328.5855 | 303229.2974 | 30.45 | 114.2 | #N/A
227584 | 2021-10-26 10:57 | 11.0025 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.149 | μmol/L | 12.3324 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.315 | 109344.61 | 303232.2462 | 30.45 | 114.2 | #N/A
227594 | 2021-10-26 10:57 | 11.3362 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 242.8986 | μmol/L | 12.3385 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.325 | 109353.9565 | 303222.1141 | 30.45 | 114.2 | #N/A
227604 | 2021-10-26 10:58 | 11.6694 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 242.9319 | μmol/L | 12.3447 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.321 | 109378.9985 | 303230.8898 | 30.45 | 114.2 | #N/A
227614 | 2021-10-26 10:58 | 12.0032 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 242.8451 | μmol/L | 12.3324 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.33 | 109386.68 | 303215.9887 | 30.45 | 114.2 | #N/A
227624 | 2021-10-26 10:58 | 12.3358 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 242.7569 | μmol/L | 12.3385 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.332 | 109415.7946 | 303227.7294 | 30.45 | 114.2 | #N/A
227634 | 2021-10-26 10:59 | 12.6699 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 242.7714 | μmol/L | 12.3263 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.336 | 109446.5973 | 303226.4365 | 30.45 | 114.2 | #N/A
227644 | 2021-10-26 10:59 | 12.9789 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 242.6298 | μmol/L | 12.3263 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.343 | 109460.3577 | 303229.5015 | 30.45 | 114.2 | #N/A
227654 | 2021-10-26 10:59 | 13.3194 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 242.6718 | μmol/L | 12.3079 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.348 | 109488.7849 | 303234.456 | 30.45 | 114.2 | #N/A
227664 | 2021-10-26 11:00 | 13.6528 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 242.591 | μmol/L | 12.3079 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.352 | 109505.1129 | 303236.1918 | 30.45 | 114.2 | #N/A
227674 | 2021-10-26 11:00 | 13.9861 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 242.5101 | μmol/L | 12.3079 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.356 | 109528.0662 | 303248.594 | 30.45 | 114.2 | #N/A
227684 | 2021-10-26 11:00 | 14.3195 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 242.4018 | μmol/L | 12.314 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.359 | 109541.7582 | 303269.3723 | 30.45 | 114.2 | #N/A
227694 | 2021-10-26 11:01 | 14.6525 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 242.4697 | μmol/L | 12.3079 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.358 | 109548.4334 | 303273.0723 | 30.45 | 114.2 | #N/A
227704 | 2021-10-26 11:01 | 14.986 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 242.4697 | μmol/L | 12.3079 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.358 | 109557.3112 | 303264.3037 | 30.45 | 114.2 | #N/A
227714 | 2021-10-26 11:01 | 15.3193 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 242.422 | μmol/L | 12.314 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.358 | 109570.7929 | 303262.1231 | 30.45 | 114.2 | #N/A
227724 | 2021-10-26 11:02 | 15.6531 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 241.837 | μmol/L | 12.314 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.387 | 109717.4715 | 303267.5271 | 30.45 | 114.2 | #N/A
227734 | 2021-10-26 11:02 | 15.9861 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 239.6529 | μmol/L | 12.314 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.496 | 110288.9758 | 303269.8514 | 30.45 | 114.2 | #N/A
227744 | 2021-10-26 11:02 | 16.3191 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.744 | μmol/L | 12.314 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.643 | 111077.9714 | 303279.3531 | 30.45 | 114.2 | #N/A
227754 | 2021-10-26 11:03 | 16.6525 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 233.3081 | μmol/L | 12.3201 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.817 | 111997.2874 | 303303.3542 | 30.45 | 114.2 | #N/A
227764 | 2021-10-26 11:03 | 16.9862 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 230.7483 | μmol/L | 12.3263 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.948 | 112676.8453 | 303321.0489 | 30.45 | 114.2 | #N/A
227774 | 2021-10-26 11:03 | 17.3191 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 229.2926 | μmol/L | 12.3201 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 25.027 | 113108.566 | 303337.4387 | 30.45 | 114.2 | #N/A
227784 | 2021-10-26 11:04 | 17.6531 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 228.7444 | μmol/L | 12.3201 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 25.056 | 113248.9403 | 303337.7841 | 30.45 | 114.2 | #N/A
227794 | 2021-10-26 11:04 | 17.9861 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 228.6878 | μmol/L | 12.3201 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 25.059 | 113284.5436 | 303339.0175 | 30.45 | 114.2 | #N/A
227804 | 2021-10-26 11:04 | 18.3191 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 228.7517 | μmol/L | 12.314 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 25.058 | 113304.8656 | 303373.5693 | 30.45 | 114.2 | #N/A
227814 | 2021-10-26 11:05 | 18.6524 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 228.4876 | μmol/L | 12.314 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 25.072 | 113377.846 | 303385.715 | 30.45 | 114.2 | #N/A
227824 | 2021-10-26 11:05 | 18.9859 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 229.0045 | μmol/L | 12.3079 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 25.047 | 113232.7419 | 303408.4473 | 30.45 | 114.2 | #N/A
227834 | 2021-10-26 11:05 | 19.3194 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 229.8875 | μmol/L | 12.314 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.998 | 113013.1003 | 303424.5176 | 30.45 | 114.2 | #N/A
227844 | 2021-10-26 11:06 | 19.6524 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 230.6366 | μmol/L | 12.3079 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.961 | 112805.353 | 303423.2783 | 30.45 | 114.2 | #N/A
227854 | 2021-10-26 11:06 | 19.9864 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 231.0109 | μmol/L | 12.314 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.939 | 112711.604 | 303430.4273 | 30.45 | 114.2 | #N/A
227864 | 2021-10-26 11:06 | 20.3198 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 231.0109 | μmol/L | 12.314 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.939 | 112696.7318 | 303423.4015 | 30.45 | 114.2 | #N/A
227874 | 2021-10-26 11:07 | 20.6532 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 230.7437 | μmol/L | 12.314 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.953 | 112791.3388 | 303414.6168 | 30.45 | 114.2 | #N/A
227884 | 2021-10-26 11:07 | 20.9864 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 230.1915 | μmol/L | 12.314 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.982 | 112937.5523 | 303455.3521 | 30.45 | 114.2 | #N/A
227894 | 2021-10-26 11:07 | 21.3198 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 230.1725 | μmol/L | 12.314 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.983 | 112954.4454 | 303456.4533 | 30.45 | 114.2 | #N/A
227904 | 2021-10-26 11:08 | 21.6525 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 230.751 | μmol/L | 12.3079 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.955 | 112826.9067 | 303481.9642 | 30.45 | 114.2 | #N/A
227914 | 2021-10-26 11:08 | 21.9859 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 231.2592 | μmol/L | 12.314 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.926 | 112650.2136 | 303493.0971 | 30.45 | 114.2 | #N/A
227924 | 2021-10-26 11:08 | 22.3197 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 232.0208 | μmol/L | 12.3017 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.891 | 112475.0068 | 303495.1247 | 30.45 | 114.2 | #N/A