## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-27 10:26

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
230637 | 2021-10-27 09:57 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 245.0182 | μmol/L | 13.1309 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.053 | 131080.9795 | 271122.2174 | 32.55 | 27.7 | #N/A
230647 | 2021-10-27 09:57 | 0.32667 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.5998 | μmol/L | 13.1431 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.069 | 131154.39 | 271128.3126 | 32.55 | 27.7 | #N/A
230657 | 2021-10-27 09:57 | 0.66002 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.3032 | μmol/L | 13.1553 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.079 | 131207.5785 | 271129.6454 | 32.55 | 27.7 | #N/A
230667 | 2021-10-27 09:58 | 0.99292 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.142 | μmol/L | 13.1553 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.087 | 131223.3682 | 271117.5473 | 32.55 | 27.7 | #N/A
230677 | 2021-10-27 09:58 | 1.3263 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.8882 | μmol/L | 13.1309 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.109 | 131350.3752 | 271109.7041 | 32.55 | 27.7 | #N/A
230687 | 2021-10-27 09:58 | 1.6595 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.5806 | μmol/L | 13.1187 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.129 | 131458.5229 | 271103.8452 | 32.55 | 27.7 | #N/A
230697 | 2021-10-27 09:59 | 1.9927 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.3809 | μmol/L | 13.1004 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.146 | 131575.4687 | 271101.5725 | 32.55 | 27.7 | #N/A
230707 | 2021-10-27 09:59 | 2.3269 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.0672 | μmol/L | 13.0943 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.164 | 131676.0006 | 271095.1789 | 32.55 | 27.7 | #N/A
230717 | 2021-10-27 09:59 | 2.6601 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 242.8811 | μmol/L | 13.0821 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.178 | 131755.0621 | 271089.999 | 32.55 | 27.7 | #N/A
230727 | 2021-10-27 10:00 | 2.9927 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 242.4998 | μmol/L | 13.1004 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.19 | 131861.2687 | 271092.2712 | 32.55 | 27.7 | #N/A
230737 | 2021-10-27 10:00 | 3.3261 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 242.0878 | μmol/L | 13.0943 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.213 | 131951.55 | 271106.8953 | 32.55 | 27.7 | #N/A
230747 | 2021-10-27 10:00 | 3.6602 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 241.5744 | μmol/L | 13.1248 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.227 | 132077.5216 | 271122.003 | 32.55 | 27.7 | #N/A
230757 | 2021-10-27 10:01 | 3.9928 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 241.0707 | μmol/L | 13.1309 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.25 | 132191.5186 | 271111.9242 | 32.55 | 27.7 | #N/A
230767 | 2021-10-27 10:01 | 4.3262 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.7535 | μmol/L | 13.1309 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.266 | 132307.7188 | 271130.6816 | 32.55 | 27.7 | #N/A
230777 | 2021-10-27 10:01 | 4.6599 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.3506 | μmol/L | 13.137 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.284 | 132413.8416 | 271131.4997 | 32.55 | 27.7 | #N/A
230787 | 2021-10-27 10:02 | 4.9931 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.1276 | μmol/L | 13.1248 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.3 | 132508.9046 | 271130.3151 | 32.55 | 27.7 | #N/A
230797 | 2021-10-27 10:02 | 5.3262 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.0967 | μmol/L | 13.1004 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.311 | 132578.7662 | 271126.276 | 32.55 | 27.7 | #N/A
230807 | 2021-10-27 10:02 | 5.6595 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 239.9137 | μmol/L | 13.0882 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.325 | 132643.4636 | 271124.874 | 32.55 | 27.7 | #N/A
230817 | 2021-10-27 10:03 | 5.9931 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 239.9027 | μmol/L | 13.0638 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.335 | 132732.4072 | 271126.9306 | 32.55 | 27.7 | #N/A
230827 | 2021-10-27 10:03 | 6.326 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 239.7594 | μmol/L | 13.0516 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.347 | 132789.5628 | 271134.9326 | 32.55 | 27.7 | #N/A
230837 | 2021-10-27 10:03 | 6.6599 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 239.4569 | μmol/L | 13.0577 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.36 | 132867.3395 | 271131.0942 | 32.55 | 27.7 | #N/A
230847 | 2021-10-27 10:04 | 6.9932 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 239.2657 | μmol/L | 13.0699 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.365 | 132934.486 | 271121.8478 | 32.55 | 27.7 | #N/A
230857 | 2021-10-27 10:04 | 7.3266 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 238.8979 | μmol/L | 13.0821 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.379 | 132996.138 | 271128.1875 | 32.55 | 27.7 | #N/A
230867 | 2021-10-27 10:04 | 7.6601 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 238.6359 | μmol/L | 13.0882 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.39 | 133053.136 | 271116.8145 | 32.55 | 27.7 | #N/A
230877 | 2021-10-27 10:05 | 7.9932 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 238.44 | μmol/L | 13.0882 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.4 | 133110.763 | 271125.3867 | 32.55 | 27.7 | #N/A
230887 | 2021-10-27 10:05 | 8.3264 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 238.264 | μmol/L | 13.0882 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.409 | 133176.2526 | 271126.8945 | 32.55 | 27.7 | #N/A
230897 | 2021-10-27 10:05 | 8.6599 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 238.0223 | μmol/L | 13.0943 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.419 | 133242.063 | 271121.7541 | 32.55 | 27.7 | #N/A
230907 | 2021-10-27 10:06 | 8.993 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 237.8927 | μmol/L | 13.0882 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.428 | 133317.396 | 271127.7104 | 32.55 | 27.7 | #N/A
230917 | 2021-10-27 10:06 | 9.3267 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 237.5806 | μmol/L | 13.0882 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.444 | 133387.2686 | 271112.0635 | 32.55 | 27.7 | #N/A
230927 | 2021-10-27 10:06 | 9.6599 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 237.4585 | μmol/L | 13.076 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.455 | 133465.8708 | 271101.0715 | 32.55 | 27.7 | #N/A
230937 | 2021-10-27 10:07 | 9.993 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 237.2976 | μmol/L | 13.0638 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.468 | 133534.1215 | 271123.9481 | 32.55 | 27.7 | #N/A
230947 | 2021-10-27 10:07 | 10.3265 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 237.2853 | μmol/L | 13.0577 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.471 | 133581.3311 | 271109.1774 | 32.55 | 27.7 | #N/A
230957 | 2021-10-27 10:07 | 10.6598 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 236.9211 | μmol/L | 13.0699 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.485 | 133632.7468 | 271114.4024 | 32.55 | 27.7 | #N/A
230967 | 2021-10-27 10:08 | 10.9934 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 236.9886 | μmol/L | 13.0455 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.491 | 133702.6619 | 271112.4796 | 32.55 | 27.7 | #N/A
230977 | 2021-10-27 10:08 | 11.3268 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 236.8526 | μmol/L | 13.0455 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.498 | 133751.9581 | 271108.194 | 32.55 | 27.7 | #N/A
230987 | 2021-10-27 10:08 | 11.6594 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 236.7311 | μmol/L | 13.0332 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.509 | 133797.9041 | 271104.9602 | 32.55 | 27.7 | #N/A
230997 | 2021-10-27 10:09 | 11.9935 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 236.6413 | μmol/L | 13.0271 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.516 | 133840.6456 | 271104.9933 | 32.55 | 27.7 | #N/A
231007 | 2021-10-27 10:09 | 12.3263 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 236.5322 | μmol/L | 13.021 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.524 | 133884.0504 | 271109.2758 | 32.55 | 27.7 | #N/A
231017 | 2021-10-27 10:09 | 12.6601 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 236.4282 | μmol/L | 13.0271 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.527 | 133927.9183 | 271116.1344 | 32.55 | 27.7 | #N/A
231027 | 2021-10-27 10:10 | 12.9929 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 236.3264 | μmol/L | 13.0149 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.537 | 133972.2142 | 271111.6706 | 32.55 | 27.7 | #N/A
231037 | 2021-10-27 10:10 | 13.3264 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 236.2103 | μmol/L | 13.0149 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.543 | 134011.8197 | 271104.8749 | 32.55 | 27.7 | #N/A
231047 | 2021-10-27 10:10 | 13.6601 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 235.9904 | μmol/L | 13.021 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.552 | 134042.7391 | 271111.0646 | 32.55 | 27.7 | #N/A
231057 | 2021-10-27 10:11 | 13.9934 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 235.9396 | μmol/L | 13.0149 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.557 | 134117.5522 | 271104.8237 | 32.55 | 27.7 | #N/A
231067 | 2021-10-27 10:11 | 14.3269 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 235.6959 | μmol/L | 13.0088 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.572 | 134163.3823 | 271108.5343 | 32.55 | 27.7 | #N/A
231077 | 2021-10-27 10:11 | 14.6594 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 235.7175 | μmol/L | 12.9905 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.578 | 134221.292 | 271105.1463 | 32.55 | 27.7 | #N/A
231087 | 2021-10-27 10:12 | 14.9933 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 235.4789 | μmol/L | 12.9966 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.588 | 134274.618 | 271100.5428 | 32.55 | 27.7 | #N/A
231097 | 2021-10-27 10:12 | 15.3261 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 235.4091 | μmol/L | 12.9905 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.594 | 134318.1513 | 271100.1374 | 32.55 | 27.7 | #N/A
231107 | 2021-10-27 10:12 | 15.6596 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 235.1708 | μmol/L | 12.9966 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.604 | 134371.8396 | 271120.756 | 32.55 | 27.7 | #N/A
231117 | 2021-10-27 10:13 | 15.9931 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 234.9977 | μmol/L | 12.9966 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.613 | 134428.3796 | 271109.3432 | 32.55 | 27.7 | #N/A
231127 | 2021-10-27 10:13 | 16.3264 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 234.9016 | μmol/L | 12.9966 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.618 | 134470.6581 | 271122.7697 | 32.55 | 27.7 | #N/A
231137 | 2021-10-27 10:13 | 16.6598 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 234.8512 | μmol/L | 12.9905 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.623 | 134512.7874 | 271103.9402 | 32.55 | 27.7 | #N/A
231147 | 2021-10-27 10:14 | 16.9934 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 234.6712 | μmol/L | 12.9966 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.63 | 134545.2262 | 271113.4235 | 32.55 | 27.7 | #N/A
231157 | 2021-10-27 10:14 | 17.3267 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 234.6856 | μmol/L | 12.9844 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.634 | 134568.3499 | 271118.4365 | 32.55 | 27.7 | #N/A
231167 | 2021-10-27 10:14 | 17.6599 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 234.6208 | μmol/L | 12.9905 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.635 | 134598.9337 | 271101.0841 | 32.55 | 27.7 | #N/A
231177 | 2021-10-27 10:15 | 17.9931 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 234.4866 | μmol/L | 12.9905 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.642 | 134619.9997 | 271114.5214 | 32.55 | 27.7 | #N/A
231187 | 2021-10-27 10:15 | 18.3263 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 234.3716 | μmol/L | 12.9905 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.648 | 134650.8957 | 271105.2266 | 32.55 | 27.7 | #N/A
231197 | 2021-10-27 10:15 | 18.6598 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 234.2302 | μmol/L | 12.9966 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.653 | 134681.974 | 271112.703 | 32.55 | 27.7 | #N/A
231207 | 2021-10-27 10:16 | 18.9933 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 234.1082 | μmol/L | 13.0027 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.657 | 134733.5835 | 271111.7325 | 32.55 | 27.7 | #N/A
231217 | 2021-10-27 10:16 | 19.3261 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 233.9169 | μmol/L | 13.0027 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.667 | 134786.402 | 271097.4623 | 32.55 | 27.7 | #N/A
231227 | 2021-10-27 10:16 | 19.6595 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 233.7567 | μmol/L | 13.0088 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.673 | 134830.5073 | 271095.7098 | 32.55 | 27.7 | #N/A
231237 | 2021-10-27 10:17 | 19.993 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 233.5849 | μmol/L | 13.0088 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.682 | 134852.0894 | 271111.5677 | 32.55 | 27.7 | #N/A
231247 | 2021-10-27 10:17 | 20.3263 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 233.5204 | μmol/L | 13.0149 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.683 | 134883.2436 | 271107.3269 | 32.55 | 27.7 | #N/A
231257 | 2021-10-27 10:17 | 20.6595 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 233.4513 | μmol/L | 13.0088 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.689 | 134899.3282 | 271102.4847 | 32.55 | 27.7 | #N/A
231267 | 2021-10-27 10:18 | 20.9931 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 233.2462 | μmol/L | 13.021 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.695 | 134939.0492 | 271095.6782 | 32.55 | 27.7 | #N/A
231277 | 2021-10-27 10:18 | 21.3269 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 233.1536 | μmol/L | 13.0027 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.707 | 134989.8849 | 271098.1547 | 32.55 | 27.7 | #N/A
231287 | 2021-10-27 10:18 | 21.66 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 233.082 | μmol/L | 13.0149 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.706 | 135041.8955 | 271115.5854 | 32.55 | 27.7 | #N/A
231297 | 2021-10-27 10:19 | 21.993 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 232.9107 | μmol/L | 13.0149 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.715 | 135082.4633 | 271109.7212 | 32.55 | 27.7 | #N/A
231307 | 2021-10-27 10:19 | 22.3268 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 232.8609 | μmol/L | 13.0088 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.72 | 135125.5758 | 271092.8348 | 32.55 | 27.7 | #N/A
231317 | 2021-10-27 10:19 | 22.6597 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 232.7161 | μmol/L | 13.0027 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.73 | 135158.8026 | 271103.8736 | 32.55 | 27.7 | #N/A
231327 | 2021-10-27 10:20 | 22.9929 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 232.6211 | μmol/L | 13.0027 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.735 | 135192.2786 | 271070.4728 | 32.55 | 27.7 | #N/A
231337 | 2021-10-27 10:20 | 23.3267 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 232.3292 | μmol/L | 13.0088 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.748 | 135270.5474 | 271082.5658 | 32.55 | 27.7 | #N/A
231347 | 2021-10-27 10:20 | 23.6594 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 232.0187 | μmol/L | 13.0149 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.762 | 135364.8188 | 271054.2781 | 32.55 | 27.7 | #N/A
231357 | 2021-10-27 10:21 | 23.9932 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 231.8512 | μmol/L | 12.9966 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.778 | 135447.5508 | 271052.4383 | 32.55 | 27.7 | #N/A
231367 | 2021-10-27 10:21 | 24.3261 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 231.6243 | μmol/L | 12.9966 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.79 | 135501.8104 | 271049.7315 | 32.55 | 27.7 | #N/A
231377 | 2021-10-27 10:21 | 24.6597 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 231.556 | μmol/L | 12.9905 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.796 | 135520.7276 | 271030.2335 | 32.55 | 27.7 | #N/A
231387 | 2021-10-27 10:22 | 24.9932 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 231.5182 | μmol/L | 12.9905 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.798 | 135542.9459 | 271035.0189 | 32.55 | 27.7 | #N/A
231397 | 2021-10-27 10:22 | 25.3263 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 231.4093 | μmol/L | 13.0027 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.799 | 135547.3069 | 271031.481 | 32.55 | 27.7 | #N/A
231407 | 2021-10-27 10:22 | 25.6594 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 231.3788 | μmol/L | 12.9966 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.803 | 135541.7939 | 271018.8491 | 32.55 | 27.7 | #N/A
231417 | 2021-10-27 10:23 | 25.993 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 231.3861 | μmol/L | 12.9905 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.805 | 135551.843 | 271018.3228 | 32.55 | 27.7 | #N/A
231427 | 2021-10-27 10:23 | 26.3266 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 231.3295 | μmol/L | 12.9905 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.808 | 135564.8011 | 270998.6757 | 32.55 | 27.7 | #N/A
231437 | 2021-10-27 10:23 | 26.6596 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 231.3701 | μmol/L | 12.9722 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.813 | 135567.6104 | 270998.4974 | 32.55 | 27.7 | #N/A
231447 | 2021-10-27 10:24 | 26.9928 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 231.3512 | μmol/L | 12.9722 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.814 | 135586.9019 | 270990.5966 | 32.55 | 27.7 | #N/A
231457 | 2021-10-27 10:24 | 27.3266 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 231.1931 | μmol/L | 12.9783 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.82 | 135601.5447 | 270987.7801 | 32.55 | 27.7 | #N/A
231467 | 2021-10-27 10:24 | 27.6597 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 231.1554 | μmol/L | 12.9783 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.822 | 135599.0347 | 270969.3455 | 32.55 | 27.7 | #N/A
231477 | 2021-10-27 10:25 | 27.9935 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 231.0163 | μmol/L | 12.9844 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.827 | 135625.7471 | 270942.7411 | 32.55 | 27.7 | #N/A
231487 | 2021-10-27 10:25 | 28.3263 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 230.828 | μmol/L | 12.9844 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.837 | 135637.8972 | 270938.1279 | 32.55 | 27.7 | #N/A
231497 | 2021-10-27 10:25 | 28.6595 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 230.7007 | μmol/L | 12.9966 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.839 | 135677.3274 | 270924.889 | 32.55 | 27.7 | #N/A
231507 | 2021-10-27 10:26 | 28.9933 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 230.5503 | μmol/L | 12.9966 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.847 | 135707.8133 | 270913.8913 | 32.55 | 27.7 | #N/A