## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-27 09:46

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
229853 | 2021-10-27 09:20 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 248.506 | μmol/L | 12.964 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.817 | 107492.128 | 305819.8028 | 30.45 | 114.2 | #N/A
229863 | 2021-10-27 09:20 | 0.32904 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 248.4841 | μmol/L | 12.9456 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.825 | 107637.2706 | 305869.1872 | 30.45 | 114.2 | #N/A
229873 | 2021-10-27 09:20 | 0.66271 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 248.282 | μmol/L | 12.9395 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.837 | 107688.738 | 305939.8398 | 30.45 | 114.2 | #N/A
229883 | 2021-10-27 09:21 | 0.99604 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 248.2261 | μmol/L | 12.9333 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.842 | 107747.5313 | 305997.1497 | 30.45 | 114.2 | #N/A
229893 | 2021-10-27 09:21 | 1.3293 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 248.2052 | μmol/L | 12.9333 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.843 | 107800.6899 | 306045.7493 | 30.45 | 114.2 | #N/A
229903 | 2021-10-27 09:21 | 1.6623 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 248.0669 | μmol/L | 12.9456 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.845 | 107832.052 | 306087.8542 | 30.45 | 114.2 | #N/A
229913 | 2021-10-27 09:22 | 1.9959 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.9561 | μmol/L | 12.9517 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.848 | 107880.9849 | 306124.0989 | 30.45 | 114.2 | #N/A
229923 | 2021-10-27 09:22 | 2.3286 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.852 | μmol/L | 12.9517 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.853 | 107935.0748 | 306174.6368 | 30.45 | 114.2 | #N/A
229933 | 2021-10-27 09:22 | 2.6626 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.7337 | μmol/L | 12.9456 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.861 | 107966.5101 | 306194.0067 | 30.45 | 114.2 | #N/A
229943 | 2021-10-27 09:23 | 2.9959 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.6921 | μmol/L | 12.9456 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.863 | 108026.2646 | 306237.0409 | 30.45 | 114.2 | #N/A
229953 | 2021-10-27 09:23 | 3.329 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.5116 | μmol/L | 12.9395 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.874 | 108080.8821 | 306268.1334 | 30.45 | 114.2 | #N/A
229963 | 2021-10-27 09:23 | 3.6622 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.3869 | μmol/L | 12.9395 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.88 | 108126.2343 | 306303.8589 | 30.45 | 114.2 | #N/A
229973 | 2021-10-27 09:24 | 3.9955 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.2624 | μmol/L | 12.9395 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.886 | 108193.6528 | 306353.3076 | 30.45 | 114.2 | #N/A
229983 | 2021-10-27 09:24 | 4.3294 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.1445 | μmol/L | 12.9333 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.894 | 108253.3972 | 306384.524 | 30.45 | 114.2 | #N/A
229993 | 2021-10-27 09:24 | 4.662 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.1652 | μmol/L | 12.9333 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.893 | 108295.5077 | 306410.7543 | 30.45 | 114.2 | #N/A
230003 | 2021-10-27 09:25 | 4.9955 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 246.938 | μmol/L | 12.9517 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.897 | 108344.2262 | 306441.7814 | 30.45 | 114.2 | #N/A
230013 | 2021-10-27 09:25 | 5.3291 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 246.8004 | μmol/L | 12.964 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.899 | 108371.6985 | 306481.4739 | 30.45 | 114.2 | #N/A
230023 | 2021-10-27 09:25 | 5.6626 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 246.518 | μmol/L | 12.9763 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.908 | 108451.3348 | 306509.8258 | 30.45 | 114.2 | #N/A
230033 | 2021-10-27 09:26 | 5.9954 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 246.3112 | μmol/L | 12.9763 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.918 | 108513.9735 | 306521.9776 | 30.45 | 114.2 | #N/A
230043 | 2021-10-27 09:26 | 6.3293 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 246.0981 | μmol/L | 12.9824 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.926 | 108557.2509 | 306563.6928 | 30.45 | 114.2 | #N/A
230053 | 2021-10-27 09:26 | 6.662 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 246.0634 | μmol/L | 12.9763 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.93 | 108596.0936 | 306593.6502 | 30.45 | 114.2 | #N/A
230063 | 2021-10-27 09:27 | 6.9956 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.9462 | μmol/L | 12.9701 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.938 | 108645.01 | 306627.8161 | 30.45 | 114.2 | #N/A
230073 | 2021-10-27 09:27 | 7.3292 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 246.0213 | μmol/L | 12.9579 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.939 | 108700.584 | 306663.3349 | 30.45 | 114.2 | #N/A
230083 | 2021-10-27 09:27 | 7.6622 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.7672 | μmol/L | 12.964 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.949 | 108762.0144 | 306697.4978 | 30.45 | 114.2 | #N/A
230093 | 2021-10-27 09:28 | 7.9958 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.5685 | μmol/L | 12.9763 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.954 | 108812.419 | 306707.6174 | 30.45 | 114.2 | #N/A
230103 | 2021-10-27 09:28 | 8.3289 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.3693 | μmol/L | 12.9701 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.966 | 108853.2715 | 306741.2062 | 30.45 | 114.2 | #N/A
230113 | 2021-10-27 09:28 | 8.6327 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.4376 | μmol/L | 12.964 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.965 | 108906.144 | 306771.6476 | 30.45 | 114.2 | #N/A
230123 | 2021-10-27 09:29 | 8.9623 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.3686 | μmol/L | 12.9517 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.973 | 108943.1243 | 306801.3329 | 30.45 | 114.2 | #N/A
230133 | 2021-10-27 09:29 | 9.2953 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.3414 | μmol/L | 12.9579 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.972 | 108977.9987 | 306826.5731 | 30.45 | 114.2 | #N/A
230143 | 2021-10-27 09:29 | 9.6291 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.1153 | μmol/L | 12.9579 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.983 | 109035.1428 | 306855.2859 | 30.45 | 114.2 | #N/A
230153 | 2021-10-27 09:30 | 9.9623 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.9238 | μmol/L | 12.964 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.99 | 109086.9112 | 306887.6932 | 30.45 | 114.2 | #N/A
230163 | 2021-10-27 09:30 | 10.2959 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.9304 | μmol/L | 12.9579 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.992 | 109130.8272 | 306916.4074 | 30.45 | 114.2 | #N/A
230173 | 2021-10-27 09:30 | 10.629 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.896 | μmol/L | 12.9517 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.996 | 109182.8893 | 306934.8063 | 30.45 | 114.2 | #N/A
230183 | 2021-10-27 09:31 | 10.9622 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.7114 | μmol/L | 12.9517 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.005 | 109196.4069 | 306943.9048 | 30.45 | 114.2 | #N/A
230193 | 2021-10-27 09:31 | 11.2961 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.7319 | μmol/L | 12.9517 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.004 | 109239.5003 | 306953.4058 | 30.45 | 114.2 | #N/A
230203 | 2021-10-27 09:31 | 11.629 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.3841 | μmol/L | 12.9701 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.014 | 109277.0495 | 306980.3584 | 30.45 | 114.2 | #N/A
230213 | 2021-10-27 09:32 | 11.9623 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.2818 | μmol/L | 12.9701 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.019 | 109336.4682 | 307001.5395 | 30.45 | 114.2 | #N/A
230223 | 2021-10-27 09:32 | 12.2953 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.1043 | μmol/L | 12.964 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.03 | 109391.0972 | 307020.8187 | 30.45 | 114.2 | #N/A
230233 | 2021-10-27 09:32 | 12.6291 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.0568 | μmol/L | 12.9701 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.03 | 109427.8636 | 307037.6042 | 30.45 | 114.2 | #N/A
230243 | 2021-10-27 09:33 | 12.9627 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.9612 | μmol/L | 12.964 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.037 | 109472.835 | 307054.5041 | 30.45 | 114.2 | #N/A
230253 | 2021-10-27 09:33 | 13.2957 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.9065 | μmol/L | 12.9579 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.042 | 109508.2864 | 307082.3952 | 30.45 | 114.2 | #N/A
230263 | 2021-10-27 09:33 | 13.6286 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.6753 | μmol/L | 12.964 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.051 | 109553.4022 | 307095.6607 | 30.45 | 114.2 | #N/A
230273 | 2021-10-27 09:34 | 13.9623 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.6412 | μmol/L | 12.9579 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.055 | 109597.1858 | 307111.9723 | 30.45 | 114.2 | #N/A
230283 | 2021-10-27 09:34 | 14.2959 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.5937 | μmol/L | 12.964 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.055 | 109623.1145 | 307139.4817 | 30.45 | 114.2 | #N/A
230293 | 2021-10-27 09:34 | 14.6287 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.2748 | μmol/L | 12.9763 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.066 | 109645.8004 | 307162.1137 | 30.45 | 114.2 | #N/A
230303 | 2021-10-27 09:35 | 14.9626 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.234 | μmol/L | 12.9763 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.068 | 109706.0329 | 307187.7498 | 30.45 | 114.2 | #N/A
230313 | 2021-10-27 09:35 | 15.2956 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.0778 | μmol/L | 12.9701 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.078 | 109762.0577 | 307183.5499 | 30.45 | 114.2 | #N/A
230323 | 2021-10-27 09:35 | 15.6292 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.0168 | μmol/L | 12.9701 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.081 | 109791.7674 | 307197.2711 | 30.45 | 114.2 | #N/A
230333 | 2021-10-27 09:36 | 15.9625 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 242.8608 | μmol/L | 12.964 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.091 | 109852.8483 | 307214.7729 | 30.45 | 114.2 | #N/A
230343 | 2021-10-27 09:36 | 16.296 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 242.6982 | μmol/L | 12.964 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.099 | 109916.2622 | 307226.5747 | 30.45 | 114.2 | #N/A
230353 | 2021-10-27 09:36 | 16.6286 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 242.5561 | μmol/L | 12.964 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.106 | 109937.5862 | 307238.4159 | 30.45 | 114.2 | #N/A
230363 | 2021-10-27 09:37 | 16.9627 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 242.4953 | μmol/L | 12.964 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.109 | 109981.3897 | 307248.8957 | 30.45 | 114.2 | #N/A
230373 | 2021-10-27 09:37 | 17.2956 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 242.4613 | μmol/L | 12.9579 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.113 | 110018.8537 | 307259.5086 | 30.45 | 114.2 | #N/A
230383 | 2021-10-27 09:37 | 17.629 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 242.2048 | μmol/L | 12.9701 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.121 | 110060.5912 | 307281.4959 | 30.45 | 114.2 | #N/A
230393 | 2021-10-27 09:38 | 17.9628 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 242.0159 | μmol/L | 12.9763 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.128 | 110108.1623 | 307298.8646 | 30.45 | 114.2 | #N/A
230403 | 2021-10-27 09:38 | 18.2955 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 241.9618 | μmol/L | 12.9701 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.133 | 110152.7854 | 307312.7117 | 30.45 | 114.2 | #N/A
230413 | 2021-10-27 09:38 | 18.6291 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 241.6923 | μmol/L | 12.9763 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.144 | 110188.1987 | 307319.3001 | 30.45 | 114.2 | #N/A
230423 | 2021-10-27 09:39 | 18.9624 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 241.5847 | μmol/L | 12.9824 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.147 | 110232.9659 | 307336.4041 | 30.45 | 114.2 | #N/A
230433 | 2021-10-27 09:39 | 19.2956 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 241.6248 | μmol/L | 12.964 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.152 | 110263.6772 | 307361.2607 | 30.45 | 114.2 | #N/A
230443 | 2021-10-27 09:39 | 19.6293 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 241.4566 | μmol/L | 12.9701 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.158 | 110308.5083 | 307374.6447 | 30.45 | 114.2 | #N/A
230453 | 2021-10-27 09:40 | 19.962 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 241.4632 | μmol/L | 12.964 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.16 | 110339.6987 | 307399.4726 | 30.45 | 114.2 | #N/A
230463 | 2021-10-27 09:40 | 20.2956 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 241.3421 | μmol/L | 12.964 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.166 | 110387.4903 | 307402.3417 | 30.45 | 114.2 | #N/A
230473 | 2021-10-27 09:40 | 20.6294 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 241.1943 | μmol/L | 12.9701 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.171 | 110420.7797 | 307424.4998 | 30.45 | 114.2 | #N/A
230483 | 2021-10-27 09:41 | 20.9627 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 241.0734 | μmol/L | 12.9701 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.177 | 110447.8057 | 307450.9734 | 30.45 | 114.2 | #N/A
230493 | 2021-10-27 09:41 | 21.2953 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 240.9995 | μmol/L | 12.964 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.183 | 110491.0379 | 307461.7954 | 30.45 | 114.2 | #N/A
230503 | 2021-10-27 09:41 | 21.6289 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 240.9793 | μmol/L | 12.964 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.184 | 110538.938 | 307468.8586 | 30.45 | 114.2 | #N/A
230513 | 2021-10-27 09:42 | 21.9627 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 240.8318 | μmol/L | 12.9701 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.189 | 110578.5511 | 307470.4343 | 30.45 | 114.2 | #N/A
230523 | 2021-10-27 09:42 | 22.2955 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 240.6508 | μmol/L | 12.9701 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.198 | 110607.0026 | 307491.3284 | 30.45 | 114.2 | #N/A
230533 | 2021-10-27 09:42 | 22.6288 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 240.4432 | μmol/L | 12.9763 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.206 | 110649.9165 | 307485.0516 | 30.45 | 114.2 | #N/A
230543 | 2021-10-27 09:43 | 22.9627 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 240.4699 | μmol/L | 12.9701 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.207 | 110678.1283 | 307485.2272 | 30.45 | 114.2 | #N/A
230553 | 2021-10-27 09:43 | 23.2953 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 240.3026 | μmol/L | 12.9763 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.213 | 110716.0302 | 307485.3856 | 30.45 | 114.2 | #N/A
230563 | 2021-10-27 09:43 | 23.6292 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 240.1822 | μmol/L | 12.9763 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.219 | 110739.5206 | 307505.9043 | 30.45 | 114.2 | #N/A
230573 | 2021-10-27 09:44 | 23.9626 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 240.0352 | μmol/L | 12.9824 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.224 | 110757.3806 | 307511.9379 | 30.45 | 114.2 | #N/A
230583 | 2021-10-27 09:44 | 24.2954 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 240.0886 | μmol/L | 12.9701 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.226 | 110794.6973 | 307523.4173 | 30.45 | 114.2 | #N/A
230593 | 2021-10-27 09:44 | 24.6287 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 239.9817 | μmol/L | 12.9763 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.229 | 110831.8699 | 307527.484 | 30.45 | 114.2 | #N/A
230603 | 2021-10-27 09:45 | 24.9621 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 239.8148 | μmol/L | 12.9824 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.235 | 110855.4472 | 307534.4373 | 30.45 | 114.2 | #N/A
230613 | 2021-10-27 09:45 | 25.2956 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 239.7347 | μmol/L | 12.9824 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.239 | 110894.2299 | 307537.3463 | 30.45 | 114.2 | #N/A
230623 | 2021-10-27 09:45 | 25.6288 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 239.6547 | μmol/L | 12.9824 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.243 | 110926.5312 | 307550.7337 | 30.45 | 114.2 | #N/A