## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-27 09:46

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
229855 | 2021-10-27 09:20 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.9149 | μmol/L | 13.2047 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.625 | 201592.3705 | 314611.0314 | 33.25 | 68.6 | #N/A
229865 | 2021-10-27 09:20 | 0.32889 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.7927 | μmol/L | 13.2047 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.631 | 201644.9767 | 314672.221 | 33.25 | 68.6 | #N/A
229875 | 2021-10-27 09:20 | 0.66213 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.8548 | μmol/L | 13.1925 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.633 | 201592.2778 | 314755.6299 | 33.25 | 68.6 | #N/A
229885 | 2021-10-27 09:21 | 0.99559 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.7899 | μmol/L | 13.1925 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.636 | 201592.103 | 314819.4454 | 33.25 | 68.6 | #N/A
229895 | 2021-10-27 09:21 | 1.3282 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.7987 | μmol/L | 13.1865 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.638 | 201594.0125 | 314863.167 | 33.25 | 68.6 | #N/A
229905 | 2021-10-27 09:21 | 1.6618 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.8482 | μmol/L | 13.1804 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.638 | 201576.4303 | 314914.3946 | 33.25 | 68.6 | #N/A
229915 | 2021-10-27 09:22 | 1.9953 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.8279 | μmol/L | 13.1804 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.639 | 201558.6983 | 314982.8833 | 33.25 | 68.6 | #N/A
229925 | 2021-10-27 09:22 | 2.3281 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.6766 | μmol/L | 13.1865 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.644 | 201591.4139 | 315040.0387 | 33.25 | 68.6 | #N/A
229935 | 2021-10-27 09:22 | 2.6619 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.8747 | μmol/L | 13.1622 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.644 | 201554.1375 | 315070.8686 | 33.25 | 68.6 | #N/A
229945 | 2021-10-27 09:23 | 2.9952 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.7729 | μmol/L | 13.1622 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.649 | 201525.6569 | 315106.1967 | 33.25 | 68.6 | #N/A
229955 | 2021-10-27 09:23 | 3.3288 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.6101 | μmol/L | 13.1622 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.657 | 201582.4779 | 315165.0379 | 33.25 | 68.6 | #N/A
229965 | 2021-10-27 09:23 | 3.6619 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.2965 | μmol/L | 13.1682 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.67 | 201620.8972 | 315199.5985 | 33.25 | 68.6 | #N/A
229975 | 2021-10-27 09:24 | 3.9953 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.0936 | μmol/L | 13.1682 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.68 | 201671.9851 | 315246.7811 | 33.25 | 68.6 | #N/A
229985 | 2021-10-27 09:24 | 4.3284 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.9895 | μmol/L | 13.1561 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.69 | 201748.8114 | 315296.8851 | 33.25 | 68.6 | #N/A
229995 | 2021-10-27 09:24 | 4.6617 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.8679 | μmol/L | 13.1561 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.696 | 201753.0986 | 315330.7954 | 33.25 | 68.6 | #N/A
230005 | 2021-10-27 09:25 | 4.9953 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.7869 | μmol/L | 13.1561 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.7 | 201775.1024 | 315364.8671 | 33.25 | 68.6 | #N/A
230015 | 2021-10-27 09:25 | 5.3287 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.6161 | μmol/L | 13.1622 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.706 | 201798.2326 | 315376.0351 | 33.25 | 68.6 | #N/A
230025 | 2021-10-27 09:25 | 5.6616 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.4543 | μmol/L | 13.1622 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.714 | 201817.3129 | 315410.4466 | 33.25 | 68.6 | #N/A
230035 | 2021-10-27 09:26 | 5.9953 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.4745 | μmol/L | 13.1622 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.713 | 201798.2448 | 315451.0993 | 33.25 | 68.6 | #N/A
230045 | 2021-10-27 09:26 | 6.3289 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.5238 | μmol/L | 13.1561 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.713 | 201753.959 | 315481.9953 | 33.25 | 68.6 | #N/A
230055 | 2021-10-27 09:26 | 6.6619 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.6047 | μmol/L | 13.1561 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.709 | 201679.5316 | 315517.6727 | 33.25 | 68.6 | #N/A
230065 | 2021-10-27 09:27 | 6.9948 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.5352 | μmol/L | 13.1622 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.71 | 201677.1262 | 315578.9961 | 33.25 | 68.6 | #N/A
230075 | 2021-10-27 09:27 | 7.3284 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.434 | μmol/L | 13.1622 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.715 | 203527.3647 | 315607.6993 | 33.25 | 68.6 | #N/A
230085 | 2021-10-27 09:27 | 7.6615 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.4024 | μmol/L | 13.1561 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.719 | 203219.0613 | 315634.9069 | 33.25 | 68.6 | #N/A
230095 | 2021-10-27 09:28 | 7.9952 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.2205 | μmol/L | 13.1561 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.728 | 203055.2931 | 315665.0489 | 33.25 | 68.6 | #N/A
230105 | 2021-10-27 09:28 | 8.3285 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.0994 | μmol/L | 13.1561 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.734 | 202977.3361 | 315699.8794 | 33.25 | 68.6 | #N/A
230115 | 2021-10-27 09:28 | 8.6323 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.9493 | μmol/L | 13.1622 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.739 | 202954.8801 | 315714.074 | 33.25 | 68.6 | #N/A
230125 | 2021-10-27 09:29 | 8.9617 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.9089 | μmol/L | 13.1622 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.741 | 202889.1032 | 315761.7926 | 33.25 | 68.6 | #N/A
230135 | 2021-10-27 09:29 | 9.2956 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.8686 | μmol/L | 13.1622 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.743 | 202802.8192 | 315785.9335 | 33.25 | 68.6 | #N/A
230145 | 2021-10-27 09:29 | 9.6289 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.832 | μmol/L | 13.1622 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.745 | 202778.5122 | 315823.8776 | 33.25 | 68.6 | #N/A
230155 | 2021-10-27 09:30 | 9.962 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.7968 | μmol/L | 13.1561 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.749 | 202790.3295 | 315858.627 | 33.25 | 68.6 | #N/A
230165 | 2021-10-27 09:30 | 10.2949 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.7716 | μmol/L | 13.1622 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.748 | 202775.4514 | 315889.383 | 33.25 | 68.6 | #N/A
230175 | 2021-10-27 09:30 | 10.6288 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.6872 | μmol/L | 13.1622 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.752 | 202782.8633 | 315910.7842 | 33.25 | 68.6 | #N/A
230185 | 2021-10-27 09:31 | 10.962 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.5462 | μmol/L | 13.1622 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.759 | 202763.5261 | 315929.2947 | 33.25 | 68.6 | #N/A
230195 | 2021-10-27 09:31 | 11.2954 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.5097 | μmol/L | 13.1622 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.761 | 202755.4422 | 315935.4421 | 33.25 | 68.6 | #N/A
230205 | 2021-10-27 09:31 | 11.6283 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.4342 | μmol/L | 13.1561 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.767 | 202777.9695 | 315954.768 | 33.25 | 68.6 | #N/A
230215 | 2021-10-27 09:32 | 11.9615 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.2884 | μmol/L | 13.1622 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.772 | 202788.6408 | 315970.7085 | 33.25 | 68.6 | #N/A
230225 | 2021-10-27 09:32 | 12.2954 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.2419 | μmol/L | 13.15 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.779 | 202840.9114 | 316003.3243 | 33.25 | 68.6 | #N/A
230235 | 2021-10-27 09:32 | 12.6283 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.0359 | μmol/L | 13.1561 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.787 | 202876.9604 | 316033.0653 | 33.25 | 68.6 | #N/A
230245 | 2021-10-27 09:33 | 12.9621 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 246.8464 | μmol/L | 13.1622 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.794 | 202914.9958 | 316047.1276 | 33.25 | 68.6 | #N/A
230255 | 2021-10-27 09:33 | 13.2949 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 246.8314 | μmol/L | 13.1561 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.797 | 202860.9405 | 316054.2608 | 33.25 | 68.6 | #N/A
230265 | 2021-10-27 09:33 | 13.6284 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 246.7436 | μmol/L | 13.15 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.804 | 202873.9402 | 316085.4499 | 33.25 | 68.6 | #N/A
230275 | 2021-10-27 09:34 | 13.9622 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 246.6434 | μmol/L | 13.15 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.809 | 202863.6233 | 316101.0375 | 33.25 | 68.6 | #N/A
230285 | 2021-10-27 09:34 | 14.2952 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 246.6634 | μmol/L | 13.15 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.808 | 202869.2427 | 316122.9092 | 33.25 | 68.6 | #N/A
230295 | 2021-10-27 09:34 | 14.6288 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 246.5055 | μmol/L | 13.1622 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.811 | 202885.5979 | 316138.8573 | 33.25 | 68.6 | #N/A
230305 | 2021-10-27 09:35 | 14.9618 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 246.3941 | μmol/L | 13.1561 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.819 | 202957.2778 | 316174.5125 | 33.25 | 68.6 | #N/A
230315 | 2021-10-27 09:35 | 15.2955 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 246.3829 | μmol/L | 13.15 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.822 | 202954.2447 | 316175.2906 | 33.25 | 68.6 | #N/A
230325 | 2021-10-27 09:35 | 15.6285 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 246.403 | μmol/L | 13.15 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.821 | 202938.1884 | 316194.56 | 33.25 | 68.6 | #N/A
230335 | 2021-10-27 09:36 | 15.9619 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 246.3629 | μmol/L | 13.15 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.823 | 202927.347 | 316203.8109 | 33.25 | 68.6 | #N/A
230345 | 2021-10-27 09:36 | 16.2949 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 246.2828 | μmol/L | 13.15 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.827 | 202940.936 | 316220.8309 | 33.25 | 68.6 | #N/A
230355 | 2021-10-27 09:36 | 16.6282 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 246.054 | μmol/L | 13.1561 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.836 | 203004.9939 | 316241.2653 | 33.25 | 68.6 | #N/A
230365 | 2021-10-27 09:37 | 16.962 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 246.0228 | μmol/L | 13.15 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.84 | 203055.7702 | 316239.0477 | 33.25 | 68.6 | #N/A
230375 | 2021-10-27 09:37 | 17.2952 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 245.8231 | μmol/L | 13.15 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.85 | 203074.3768 | 316253.9508 | 33.25 | 68.6 | #N/A
230385 | 2021-10-27 09:37 | 17.6283 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 245.8319 | μmol/L | 13.1439 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.852 | 203076.5351 | 316265.4332 | 33.25 | 68.6 | #N/A
230395 | 2021-10-27 09:38 | 17.9617 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 245.8607 | μmol/L | 13.1379 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.853 | 203067.567 | 316282.8595 | 33.25 | 68.6 | #N/A
230405 | 2021-10-27 09:38 | 18.2953 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 245.7344 | μmol/L | 13.1561 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.852 | 203055.3201 | 316310.6228 | 33.25 | 68.6 | #N/A
230415 | 2021-10-27 09:38 | 18.6286 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 245.7195 | μmol/L | 13.15 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.855 | 203044.7269 | 316327.6261 | 33.25 | 68.6 | #N/A
230425 | 2021-10-27 09:39 | 18.9617 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 245.5799 | μmol/L | 13.15 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.862 | 203080.5874 | 316349.596 | 33.25 | 68.6 | #N/A
230435 | 2021-10-27 09:39 | 19.2956 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 245.4528 | μmol/L | 13.1439 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.871 | 203088.3314 | 316349.8593 | 33.25 | 68.6 | #N/A
230445 | 2021-10-27 09:39 | 19.6289 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 245.2448 | μmol/L | 13.15 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.879 | 203180.8521 | 316375.0627 | 33.25 | 68.6 | #N/A
230455 | 2021-10-27 09:40 | 19.9621 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 245.0745 | μmol/L | 13.1439 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.89 | 203205.2332 | 316393.3652 | 33.25 | 68.6 | #N/A
230465 | 2021-10-27 09:40 | 20.2955 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 244.8668 | μmol/L | 13.15 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.898 | 203243.9907 | 316402.7471 | 33.25 | 68.6 | #N/A
230475 | 2021-10-27 09:40 | 20.6287 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 244.6372 | μmol/L | 13.1439 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.912 | 203349.8293 | 316422.4916 | 33.25 | 68.6 | #N/A
230485 | 2021-10-27 09:41 | 20.9616 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 244.5828 | μmol/L | 13.1379 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.917 | 203369.4646 | 316431.4348 | 33.25 | 68.6 | #N/A
230495 | 2021-10-27 09:41 | 21.2954 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 244.3484 | μmol/L | 13.1379 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.929 | 203409.569 | 316447.8783 | 33.25 | 68.6 | #N/A
230505 | 2021-10-27 09:41 | 21.6286 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 244.1107 | μmol/L | 13.1379 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.941 | 203502.119 | 316453.6343 | 33.25 | 68.6 | #N/A
230515 | 2021-10-27 09:42 | 21.962 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 243.8893 | μmol/L | 13.1379 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.952 | 203574.6827 | 316457.5403 | 33.25 | 68.6 | #N/A
230525 | 2021-10-27 09:42 | 22.2955 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 243.7743 | μmol/L | 13.1379 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.958 | 203607.8126 | 316461.5866 | 33.25 | 68.6 | #N/A
230535 | 2021-10-27 09:42 | 22.6287 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 243.6162 | μmol/L | 13.1379 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.966 | 203638.7369 | 316472.514 | 33.25 | 68.6 | #N/A
230545 | 2021-10-27 09:43 | 22.9617 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 243.5569 | μmol/L | 13.1379 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.969 | 203612.5012 | 316485.6025 | 33.25 | 68.6 | #N/A
230555 | 2021-10-27 09:43 | 23.2954 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 243.5855 | μmol/L | 13.1318 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.97 | 203559.9254 | 316463.5763 | 33.25 | 68.6 | #N/A
230565 | 2021-10-27 09:43 | 23.6284 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 243.5569 | μmol/L | 13.1379 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.969 | 203530.8817 | 316478.5057 | 33.25 | 68.6 | #N/A
230575 | 2021-10-27 09:44 | 23.9623 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 243.6053 | μmol/L | 13.1318 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.969 | 203522.387 | 316485.1636 | 33.25 | 68.6 | #N/A
230585 | 2021-10-27 09:44 | 24.2955 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 243.6536 | μmol/L | 13.1257 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.969 | 203463.5681 | 316483.8687 | 33.25 | 68.6 | #N/A
230595 | 2021-10-27 09:44 | 24.6289 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 243.6162 | μmol/L | 13.1379 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.966 | 203450.1777 | 316502.1295 | 33.25 | 68.6 | #N/A
230605 | 2021-10-27 09:45 | 24.9616 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 243.4977 | μmol/L | 13.1379 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.972 | 203430.1939 | 316508.3057 | 33.25 | 68.6 | #N/A
230615 | 2021-10-27 09:45 | 25.2951 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 243.5153 | μmol/L | 13.1257 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.976 | 203454.1057 | 316505.2082 | 33.25 | 68.6 | #N/A
230625 | 2021-10-27 09:45 | 25.6288 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 243.3486 | μmol/L | 13.1318 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.982 | 203495.4901 | 316514.845 | 33.25 | 68.6 | #N/A