## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH7 | O2 | 137830555 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:13

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-29 10:30

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
231983 | 2021-10-29 10:16 | 0 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 157.1738 | μmol/L | 12.8929 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 29.527 | 194088.9185 | 295828.7745 | 59.9307 | 49.4 | #N/A
231993 | 2021-10-29 10:16 | 0.3346 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 152.8255 | μmol/L | 12.8867 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 29.882 | 196527.8576 | 295763.7676 | 59.9307 | 49.4 | #N/A
232003 | 2021-10-29 10:16 | 0.66816 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 149.2993 | μmol/L | 12.8929 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 30.173 | 198529.8568 | 295727.7633 | 59.9307 | 49.4 | #N/A
232013 | 2021-10-29 10:17 | 1.0013 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 146.2671 | μmol/L | 12.8929 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 30.431 | 200310.9812 | 295707.1749 | 59.9307 | 49.4 | #N/A
232023 | 2021-10-29 10:17 | 1.3345 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 143.1671 | μmol/L | 12.9237 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 30.688 | 202092.7149 | 295658.816 | 59.9307 | 49.4 | #N/A
232033 | 2021-10-29 10:17 | 1.6682 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 140.312 | μmol/L | 12.9791 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 30.919 | 203719.9856 | 295608.6913 | 59.9307 | 49.4 | #N/A
232043 | 2021-10-29 10:18 | 2.0011 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 138.0045 | μmol/L | 12.9976 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 31.12 | 205074.1148 | 295489.5897 | 59.9307 | 49.4 | #N/A
232053 | 2021-10-29 10:18 | 2.3343 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 136.1063 | μmol/L | 12.9976 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 31.294 | 206147.2789 | 295342.2771 | 59.9307 | 49.4 | #N/A
232063 | 2021-10-29 10:18 | 2.6674 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 134.351 | μmol/L | 12.9976 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 31.457 | 207129.3915 | 295191.0488 | 59.9307 | 49.4 | #N/A
232073 | 2021-10-29 10:19 | 3.0011 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 132.7094 | μmol/L | 13.0284 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 31.599 | 207968.6572 | 295043.5871 | 59.9307 | 49.4 | #N/A
232083 | 2021-10-29 10:19 | 3.3342 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 130.7627 | μmol/L | 13.0469 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 31.777 | 209045.7638 | 294871.4484 | 59.9307 | 49.4 | #N/A
232093 | 2021-10-29 10:19 | 3.6681 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 129.1292 | μmol/L | 13.0284 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 31.942 | 209896.5959 | 294688.3977 | 59.9307 | 49.4 | #N/A
232103 | 2021-10-29 10:20 | 4.0014 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 128.1076 | μmol/L | 13.0223 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.044 | 210379.1852 | 294544.1686 | 59.9307 | 49.4 | #N/A
232113 | 2021-10-29 10:20 | 4.3346 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 127.2772 | μmol/L | 13.0284 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.123 | 210714.4385 | 294393.5158 | 59.9307 | 49.4 | #N/A
232123 | 2021-10-29 10:20 | 4.6679 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 126.6018 | μmol/L | 13.0099 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.197 | 211015.8153 | 294291.3186 | 59.9307 | 49.4 | #N/A
232133 | 2021-10-29 10:21 | 5.0011 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 125.9461 | μmol/L | 13.0099 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.262 | 211254.8894 | 294196.7939 | 59.9307 | 49.4 | #N/A
232143 | 2021-10-29 10:21 | 5.3353 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 125.393 | μmol/L | 12.9976 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.322 | 211491.6448 | 294111.9276 | 59.9307 | 49.4 | #N/A
232153 | 2021-10-29 10:21 | 5.6676 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.7531 | μmol/L | 12.9976 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.386 | 211745.0626 | 294053.5643 | 59.9307 | 49.4 | #N/A
232163 | 2021-10-29 10:22 | 6.0015 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.1659 | μmol/L | 12.9976 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.445 | 212009.9304 | 294006.1881 | 59.9307 | 49.4 | #N/A
232173 | 2021-10-29 10:22 | 6.3347 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 123.5965 | μmol/L | 13.0038 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.5 | 212277.9461 | 293996.6299 | 59.9307 | 49.4 | #N/A
232183 | 2021-10-29 10:22 | 6.6674 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 123.1613 | μmol/L | 12.9915 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.549 | 212494.5087 | 293955.3773 | 59.9307 | 49.4 | #N/A
232193 | 2021-10-29 10:23 | 7.0014 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 122.7479 | μmol/L | 12.9915 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.591 | 212719.4255 | 293941.4432 | 59.9307 | 49.4 | #N/A
232203 | 2021-10-29 10:23 | 7.3344 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 122.2139 | μmol/L | 12.9976 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.643 | 212969.89 | 293922.3026 | 59.9307 | 49.4 | #N/A
232213 | 2021-10-29 10:23 | 7.6677 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 121.6139 | μmol/L | 13.0038 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.702 | 213316.6064 | 293904.9165 | 59.9307 | 49.4 | #N/A
232223 | 2021-10-29 10:24 | 8.0007 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 121.103 | μmol/L | 12.9976 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.757 | 213627.7204 | 293865.0304 | 59.9307 | 49.4 | #N/A
232233 | 2021-10-29 10:24 | 8.3345 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 120.6626 | μmol/L | 13.0038 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.8 | 213887.3298 | 293837.186 | 59.9307 | 49.4 | #N/A
232243 | 2021-10-29 10:24 | 8.668 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 120.3 | μmol/L | 12.9976 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.84 | 214090.3981 | 293795.6869 | 59.9307 | 49.4 | #N/A
232253 | 2021-10-29 10:25 | 9.0008 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 119.9244 | μmol/L | 12.9976 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.879 | 214299.9931 | 293757.3658 | 59.9307 | 49.4 | #N/A
232263 | 2021-10-29 10:25 | 9.3344 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 119.535 | μmol/L | 12.9915 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.922 | 214526.0407 | 293713.6396 | 59.9307 | 49.4 | #N/A
232273 | 2021-10-29 10:25 | 9.6675 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 118.875 | μmol/L | 12.9915 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.991 | 214873.9967 | 293671.8165 | 59.9307 | 49.4 | #N/A
232283 | 2021-10-29 10:26 | 10.0009 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 118.4326 | μmol/L | 12.9976 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 33.035 | 215118.6704 | 293646.2038 | 59.9307 | 49.4 | #N/A
232293 | 2021-10-29 10:26 | 10.3344 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 118.1899 | μmol/L | 12.9915 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 33.063 | 215237.6342 | 293627.6058 | 59.9307 | 49.4 | #N/A
232303 | 2021-10-29 10:26 | 10.6681 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 117.9718 | μmol/L | 12.9915 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 33.086 | 215321.5984 | 293597.7729 | 59.9307 | 49.4 | #N/A
232313 | 2021-10-29 10:27 | 11.0012 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 117.8392 | μmol/L | 12.9915 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 33.1 | 215368.1814 | 293576.436 | 59.9307 | 49.4 | #N/A
232323 | 2021-10-29 10:27 | 11.3343 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 117.6552 | μmol/L | 12.9976 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 33.117 | 215434.0156 | 293550.341 | 59.9307 | 49.4 | #N/A
232333 | 2021-10-29 10:27 | 11.6678 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 117.4337 | μmol/L | 13.0038 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 33.138 | 215521.4596 | 293531.8592 | 59.9307 | 49.4 | #N/A
232343 | 2021-10-29 10:28 | 12.0015 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 117.1792 | μmol/L | 13.0038 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 33.165 | 215653.786 | 293522.1109 | 59.9307 | 49.4 | #N/A
232353 | 2021-10-29 10:28 | 12.3341 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 116.991 | μmol/L | 13.0038 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 33.185 | 215753.1109 | 293488.8808 | 59.9307 | 49.4 | #N/A
232363 | 2021-10-29 10:28 | 12.6679 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 116.8219 | μmol/L | 13.0038 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 33.203 | 215842.8833 | 293453.4441 | 59.9307 | 49.4 | #N/A
232373 | 2021-10-29 10:29 | 13.0015 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 116.6623 | μmol/L | 13.0038 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 33.22 | 215897.7684 | 293437.4347 | 59.9307 | 49.4 | #N/A
232383 | 2021-10-29 10:29 | 13.3348 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 116.554 | μmol/L | 12.9976 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 33.234 | 215936.9292 | 293432.7963 | 59.9307 | 49.4 | #N/A