## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH1 | O2 | 129211289 | PSt7-10 | 000000-000 | 0000-00 | 2021-04-19 09:39

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | 55.56 | 20 | °C | 22.25 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-29 09:49

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
231508 | 2021-10-29 09:33 | 0 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 230.4162 | μmol/L | 17.4016 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.074 | 123537.8275 | 282890.1371 | 33.25 | 75.7 | #N/A
231517 | 2021-10-29 09:33 | 0.33781 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 229.9538 | μmol/L | 17.3955 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.1 | 123699.8415 | 282943.9184 | 33.25 | 75.7 | #N/A
231527 | 2021-10-29 09:33 | 0.6714 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 229.6122 | μmol/L | 17.3832 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.122 | 123846.8395 | 282978.9053 | 33.25 | 75.7 | #N/A
231537 | 2021-10-29 09:34 | 1.0044 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 229.2449 | μmol/L | 17.3832 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.141 | 123983.6032 | 283013.1385 | 33.25 | 75.7 | #N/A
231547 | 2021-10-29 09:34 | 1.3377 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 229.0819 | μmol/L | 17.3648 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.156 | 124107.6866 | 283037.7925 | 33.25 | 75.7 | #N/A
231557 | 2021-10-29 09:34 | 1.6713 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 228.658 | μmol/L | 17.3648 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.178 | 124236.9017 | 283069.3332 | 33.25 | 75.7 | #N/A
231567 | 2021-10-29 09:35 | 2.0047 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 228.331 | μmol/L | 17.3648 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.195 | 124353.8373 | 283097.682 | 33.25 | 75.7 | #N/A
231577 | 2021-10-29 09:35 | 2.3374 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 228.0311 | μmol/L | 17.3525 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.215 | 124475.5159 | 283116.5692 | 33.25 | 75.7 | #N/A
231587 | 2021-10-29 09:35 | 2.6709 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 227.7472 | μmol/L | 17.3464 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.232 | 124594.7214 | 283137.9849 | 33.25 | 75.7 | #N/A
231597 | 2021-10-29 09:36 | 3.0042 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 227.5248 | μmol/L | 17.3341 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.248 | 124705.4768 | 283157.1491 | 33.25 | 75.7 | #N/A
231607 | 2021-10-29 09:36 | 3.3378 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 227.3181 | μmol/L | 17.328 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.261 | 124810.4658 | 283189.1411 | 33.25 | 75.7 | #N/A
231617 | 2021-10-29 09:36 | 3.6712 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 227.001 | μmol/L | 17.3158 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.282 | 124921.9112 | 283213.4086 | 33.25 | 75.7 | #N/A
231627 | 2021-10-29 09:37 | 4.0048 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 226.7796 | μmol/L | 17.3035 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.298 | 125044.0971 | 283227.9189 | 33.25 | 75.7 | #N/A
231637 | 2021-10-29 09:37 | 4.3384 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 226.4218 | μmol/L | 17.2974 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.319 | 125149.133 | 283245.6975 | 33.25 | 75.7 | #N/A
231647 | 2021-10-29 09:37 | 4.671 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 226.2013 | μmol/L | 17.2851 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.335 | 125267.0052 | 283260.1248 | 33.25 | 75.7 | #N/A
231657 | 2021-10-29 09:38 | 5.0043 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 225.9357 | μmol/L | 17.2851 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.349 | 125358.762 | 283259.2611 | 33.25 | 75.7 | #N/A
231667 | 2021-10-29 09:38 | 5.338 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 225.6969 | μmol/L | 17.2728 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.366 | 125484.8404 | 283286.4998 | 33.25 | 75.7 | #N/A
231677 | 2021-10-29 09:38 | 5.6713 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 225.4169 | μmol/L | 17.2667 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.383 | 125594.9662 | 283287.7831 | 33.25 | 75.7 | #N/A
231687 | 2021-10-29 09:39 | 6.0044 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 225.2581 | μmol/L | 17.2483 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.398 | 125713.6704 | 283325.3549 | 33.25 | 75.7 | #N/A
231697 | 2021-10-29 09:39 | 6.3383 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 225.0242 | μmol/L | 17.2299 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.417 | 125829.0287 | 283337.6341 | 33.25 | 75.7 | #N/A
231707 | 2021-10-29 09:39 | 6.6712 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 224.783 | μmol/L | 17.2238 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.432 | 125935.8573 | 283379.9633 | 33.25 | 75.7 | #N/A
231717 | 2021-10-29 09:40 | 7.0053 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 224.5317 | μmol/L | 17.2115 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.45 | 126048.7409 | 283399.4984 | 33.25 | 75.7 | #N/A
231727 | 2021-10-29 09:40 | 7.3374 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 224.2906 | μmol/L | 17.1993 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.467 | 126146.0452 | 283426.9618 | 33.25 | 75.7 | #N/A
231737 | 2021-10-29 09:40 | 7.6713 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 224.1487 | μmol/L | 17.1932 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.477 | 126256.8389 | 283448.9448 | 33.25 | 75.7 | #N/A
231747 | 2021-10-29 09:41 | 8.0045 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 223.7882 | μmol/L | 17.1932 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.496 | 126376.1201 | 283474.3383 | 33.25 | 75.7 | #N/A
231757 | 2021-10-29 09:41 | 8.3381 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 223.5153 | μmol/L | 17.1809 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.515 | 126487.7081 | 283492.6683 | 33.25 | 75.7 | #N/A
231767 | 2021-10-29 09:41 | 8.6709 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 223.4378 | μmol/L | 17.1625 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.526 | 126590.2432 | 283515.6739 | 33.25 | 75.7 | #N/A
231777 | 2021-10-29 09:42 | 9.0044 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 223.1348 | μmol/L | 17.1625 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.542 | 126685.9756 | 283541.7215 | 33.25 | 75.7 | #N/A
231787 | 2021-10-29 09:42 | 9.3374 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 223.0197 | μmol/L | 17.138 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.557 | 126786.1065 | 283566.6429 | 33.25 | 75.7 | #N/A
231797 | 2021-10-29 09:42 | 9.6713 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 222.8374 | μmol/L | 17.1319 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.569 | 126881.0027 | 283586.9503 | 33.25 | 75.7 | #N/A
231807 | 2021-10-29 09:43 | 10.0045 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 222.5584 | μmol/L | 17.1319 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.584 | 126972.7228 | 283604.1921 | 33.25 | 75.7 | #N/A
231817 | 2021-10-29 09:43 | 10.3383 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 222.2651 | μmol/L | 17.1257 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.602 | 127056.9101 | 283644.2422 | 33.25 | 75.7 | #N/A
231827 | 2021-10-29 09:43 | 10.6714 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 222.2066 | μmol/L | 17.1012 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.614 | 127147.1791 | 283674.1338 | 33.25 | 75.7 | #N/A
231837 | 2021-10-29 09:44 | 11.0043 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 221.9286 | μmol/L | 17.1012 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.629 | 127233.4881 | 283694.6181 | 33.25 | 75.7 | #N/A
231847 | 2021-10-29 09:44 | 11.338 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 221.725 | μmol/L | 17.1012 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.64 | 127319.6442 | 283725.1261 | 33.25 | 75.7 | #N/A
231857 | 2021-10-29 09:44 | 11.6716 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 221.6219 | μmol/L | 17.089 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.65 | 127396.6265 | 283752.1783 | 33.25 | 75.7 | #N/A
231867 | 2021-10-29 09:45 | 12.0044 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 221.5418 | μmol/L | 17.0767 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.659 | 127483.708 | 283774.9494 | 33.25 | 75.7 | #N/A
231877 | 2021-10-29 09:45 | 12.3381 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 221.3427 | μmol/L | 17.0706 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.672 | 127554.0955 | 283790.6001 | 33.25 | 75.7 | #N/A
231887 | 2021-10-29 09:45 | 12.6712 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 221.1622 | μmol/L | 17.0644 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.684 | 127632.9173 | 283811.9087 | 33.25 | 75.7 | #N/A
231897 | 2021-10-29 09:46 | 13.0041 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 221.0187 | μmol/L | 17.0583 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.694 | 127715.7293 | 283828.5957 | 33.25 | 75.7 | #N/A
231907 | 2021-10-29 09:46 | 13.3378 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 220.8386 | μmol/L | 17.0522 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.706 | 127779.4705 | 283845.7297 | 33.25 | 75.7 | #N/A
231917 | 2021-10-29 09:46 | 13.6708 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 220.8218 | μmol/L | 17.0215 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.718 | 127849.9245 | 283865.2651 | 33.25 | 75.7 | #N/A
231927 | 2021-10-29 09:47 | 14.0043 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 220.6196 | μmol/L | 17.0215 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.729 | 127943.0955 | 283892.8452 | 33.25 | 75.7 | #N/A
231937 | 2021-10-29 09:47 | 14.3381 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 220.495 | μmol/L | 17.0154 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.738 | 127999.7277 | 283905.7276 | 33.25 | 75.7 | #N/A
231947 | 2021-10-29 09:47 | 14.6711 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 220.2605 | μmol/L | 17.0093 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.753 | 128081.6248 | 283917.7618 | 33.25 | 75.7 | #N/A
231957 | 2021-10-29 09:48 | 15.0041 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 220.0996 | μmol/L | 17.0031 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.764 | 128160.2074 | 283930.9715 | 33.25 | 75.7 | #N/A
231967 | 2021-10-29 09:48 | 15.3379 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 219.9429 | μmol/L | 16.9909 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.777 | 128251.7594 | 283948.0445 | 33.25 | 75.7 | #N/A