## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-29 09:49

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
231511 | 2021-10-29 09:33 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 231.6774 | μmol/L | 17.3809 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.038 | 94917.0105 | 304521.8837 | 28.7 | 67.6 | #N/A
231521 | 2021-10-29 09:33 | 0.32843 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 231.4797 | μmol/L | 17.3809 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.048 | 94983.4586 | 304563.2961 | 28.7 | 67.6 | #N/A
231530 | 2021-10-29 09:33 | 0.66127 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 231.2429 | μmol/L | 17.3809 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.06 | 95040.7249 | 304628.0878 | 28.7 | 67.6 | #N/A
231540 | 2021-10-29 09:34 | 0.995 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 231.0288 | μmol/L | 17.3748 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.073 | 95105.886 | 304667.8487 | 28.7 | 67.6 | #N/A
231550 | 2021-10-29 09:34 | 1.3282 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 230.9134 | μmol/L | 17.3687 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.081 | 95163.578 | 304700.1524 | 28.7 | 67.6 | #N/A
231560 | 2021-10-29 09:34 | 1.6614 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 230.7559 | μmol/L | 17.3687 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.089 | 95231.3927 | 304758.4163 | 28.7 | 67.6 | #N/A
231571 | 2021-10-29 09:35 | 1.9951 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 230.4779 | μmol/L | 17.3748 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.101 | 95268.1323 | 304790.517 | 28.7 | 67.6 | #N/A
231581 | 2021-10-29 09:35 | 2.3291 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 230.2591 | μmol/L | 17.3809 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.11 | 95344.2385 | 304840.8755 | 28.7 | 67.6 | #N/A
231591 | 2021-10-29 09:35 | 2.6612 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 230.0266 | μmol/L | 17.3748 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.124 | 95399.126 | 304876.4358 | 28.7 | 67.6 | #N/A
231601 | 2021-10-29 09:36 | 2.995 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 229.9417 | μmol/L | 17.3566 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.135 | 95467.9104 | 304911.0617 | 28.7 | 67.6 | #N/A
231610 | 2021-10-29 09:36 | 3.3287 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 229.8466 | μmol/L | 17.3505 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.142 | 95516.1029 | 304926.5081 | 28.7 | 67.6 | #N/A
231620 | 2021-10-29 09:36 | 3.6614 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 229.7135 | μmol/L | 17.3322 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.155 | 95575.9841 | 304965.4517 | 28.7 | 67.6 | #N/A
231631 | 2021-10-29 09:37 | 3.995 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 229.5226 | μmol/L | 17.3322 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.165 | 95625.3035 | 305001.3231 | 28.7 | 67.6 | #N/A
231640 | 2021-10-29 09:37 | 4.328 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 229.4501 | μmol/L | 17.3201 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.173 | 95690.7848 | 305041.7504 | 28.7 | 67.6 | #N/A
231651 | 2021-10-29 09:37 | 4.6619 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 229.2382 | μmol/L | 17.314 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.186 | 95733.1332 | 305038.6817 | 28.7 | 67.6 | #N/A
231660 | 2021-10-29 09:38 | 4.995 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 229.0386 | μmol/L | 17.314 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.196 | 95791.1616 | 305069.5937 | 28.7 | 67.6 | #N/A
231671 | 2021-10-29 09:38 | 5.3283 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 228.9349 | μmol/L | 17.2958 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.208 | 95843.8091 | 305077.6671 | 28.7 | 67.6 | #N/A
231680 | 2021-10-29 09:38 | 5.6616 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 228.6956 | μmol/L | 17.3079 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.216 | 95901.4947 | 305107.8373 | 28.7 | 67.6 | #N/A
231690 | 2021-10-29 09:39 | 5.9952 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 228.6207 | μmol/L | 17.3018 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.222 | 95955.4032 | 305134.9805 | 28.7 | 67.6 | #N/A
231700 | 2021-10-29 09:39 | 6.3281 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 228.4515 | μmol/L | 17.2897 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.235 | 96018.2386 | 305148.0723 | 28.7 | 67.6 | #N/A
231710 | 2021-10-29 09:39 | 6.6618 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 228.2962 | μmol/L | 17.2897 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.243 | 96064.7849 | 305178.1785 | 28.7 | 67.6 | #N/A
231720 | 2021-10-29 09:40 | 6.9954 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 227.9858 | μmol/L | 17.2897 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.259 | 96121.7765 | 305202.5913 | 28.7 | 67.6 | #N/A
231731 | 2021-10-29 09:40 | 7.3281 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 227.8948 | μmol/L | 17.2775 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.268 | 96174.9519 | 305235.1095 | 28.7 | 67.6 | #N/A
231740 | 2021-10-29 09:40 | 7.6618 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 227.7845 | μmol/L | 17.2654 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.278 | 96219.772 | 305248.8834 | 28.7 | 67.6 | #N/A
231751 | 2021-10-29 09:41 | 7.995 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 227.6907 | μmol/L | 17.2593 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.285 | 96284.9944 | 305271.7185 | 28.7 | 67.6 | #N/A
231761 | 2021-10-29 09:41 | 8.3283 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 227.478 | μmol/L | 17.2593 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.296 | 96349.4103 | 305292.9429 | 28.7 | 67.6 | #N/A
231771 | 2021-10-29 09:41 | 8.6614 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 227.3843 | μmol/L | 17.2532 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.303 | 96415.3171 | 305328.9782 | 28.7 | 67.6 | #N/A
231780 | 2021-10-29 09:42 | 8.9952 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 227.1364 | μmol/L | 17.2471 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.318 | 96463.6824 | 305333.9044 | 28.7 | 67.6 | #N/A
231790 | 2021-10-29 09:42 | 9.3282 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 227.123 | μmol/L | 17.235 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.323 | 96524.5268 | 305345.4913 | 28.7 | 67.6 | #N/A
231800 | 2021-10-29 09:42 | 9.6616 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.991 | μmol/L | 17.2289 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.332 | 96585.4848 | 305371.0043 | 28.7 | 67.6 | #N/A
231811 | 2021-10-29 09:43 | 9.9948 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.7852 | μmol/L | 17.2167 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.347 | 96640.1328 | 305398.6601 | 28.7 | 67.6 | #N/A
231820 | 2021-10-29 09:43 | 10.3286 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.7142 | μmol/L | 17.2046 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.355 | 96682.5974 | 305428.3333 | 28.7 | 67.6 | #N/A
231830 | 2021-10-29 09:43 | 10.6614 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.5988 | μmol/L | 17.2046 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.361 | 96741.3908 | 305457.2637 | 28.7 | 67.6 | #N/A
231841 | 2021-10-29 09:44 | 10.9949 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.355 | μmol/L | 17.1924 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.378 | 96812.5956 | 305514.9589 | 28.7 | 67.6 | #N/A
231851 | 2021-10-29 09:44 | 11.3282 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.3004 | μmol/L | 17.1863 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.383 | 96865.9419 | 305552.0173 | 28.7 | 67.6 | #N/A
231860 | 2021-10-29 09:44 | 11.6614 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.2297 | μmol/L | 17.1742 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.391 | 96929.5887 | 305572.996 | 28.7 | 67.6 | #N/A
231870 | 2021-10-29 09:45 | 11.9952 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.1046 | μmol/L | 17.1559 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.404 | 96988.439 | 305613.8875 | 28.7 | 67.6 | #N/A
231881 | 2021-10-29 09:45 | 12.3289 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.9927 | μmol/L | 17.1498 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.412 | 97032.7227 | 305622.0386 | 28.7 | 67.6 | #N/A
231891 | 2021-10-29 09:45 | 12.6618 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.8617 | μmol/L | 17.1438 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.421 | 97099.634 | 305642.5957 | 28.7 | 67.6 | #N/A
231900 | 2021-10-29 09:46 | 12.9952 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.7338 | μmol/L | 17.1316 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.432 | 97162.0309 | 305678.622 | 28.7 | 67.6 | #N/A
231910 | 2021-10-29 09:46 | 13.3288 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.6635 | μmol/L | 17.1194 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.44 | 97200.2152 | 305693.5349 | 28.7 | 67.6 | #N/A
231920 | 2021-10-29 09:46 | 13.6621 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.5488 | μmol/L | 17.1194 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.446 | 97254.68 | 305741.1407 | 28.7 | 67.6 | #N/A
231930 | 2021-10-29 09:47 | 13.9948 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.4625 | μmol/L | 17.1012 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.457 | 97305.2443 | 305758.7424 | 28.7 | 67.6 | #N/A
231940 | 2021-10-29 09:47 | 14.3281 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.1953 | μmol/L | 17.1012 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.471 | 97340.7387 | 305793.3825 | 28.7 | 67.6 | #N/A
231950 | 2021-10-29 09:47 | 14.6618 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.1856 | μmol/L | 17.083 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.478 | 97401.8278 | 305831.0031 | 28.7 | 67.6 | #N/A
231960 | 2021-10-29 09:48 | 14.9953 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 224.9379 | μmol/L | 17.083 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.491 | 97461.1873 | 305840.7527 | 28.7 | 67.6 | #N/A
231971 | 2021-10-29 09:48 | 15.328 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 224.9791 | μmol/L | 17.0769 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.491 | 97519.4423 | 305861.4536 | 28.7 | 67.6 | #N/A