## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-29 09:50

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
231520 | 2021-10-29 09:33 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 222.5612 | μmol/L | 17.1933 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.698 | 130309.406 | 271820.5459 | 32.55 | 27.7 | #N/A
231531 | 2021-10-29 09:33 | 0.33833 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 222.1396 | μmol/L | 17.1872 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.723 | 130494.0936 | 271840.6351 | 32.55 | 27.7 | #N/A
231541 | 2021-10-29 09:34 | 0.67136 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 221.889 | μmol/L | 17.175 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.741 | 130653.8243 | 271859.5858 | 32.55 | 27.7 | #N/A
231551 | 2021-10-29 09:34 | 1.0045 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 221.6243 | μmol/L | 17.1566 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.762 | 130791.2634 | 271860.5796 | 32.55 | 27.7 | #N/A
231561 | 2021-10-29 09:34 | 1.3376 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 221.2786 | μmol/L | 17.1505 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.783 | 130945.8184 | 271861.8518 | 32.55 | 27.7 | #N/A
231570 | 2021-10-29 09:35 | 1.6712 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 220.9926 | μmol/L | 17.1383 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.803 | 131078.6302 | 271865.8351 | 32.55 | 27.7 | #N/A
231580 | 2021-10-29 09:35 | 2.0048 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 220.7479 | μmol/L | 17.12 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.823 | 131215.4955 | 271899.8033 | 32.55 | 27.7 | #N/A
231590 | 2021-10-29 09:35 | 2.3384 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 220.4995 | μmol/L | 17.1077 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.841 | 131339.5821 | 271894.5468 | 32.55 | 27.7 | #N/A
231600 | 2021-10-29 09:36 | 2.6714 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 220.1886 | μmol/L | 17.1077 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.858 | 131466.6429 | 271910.9247 | 32.55 | 27.7 | #N/A
231611 | 2021-10-29 09:36 | 3.0046 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.9371 | μmol/L | 17.1016 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.874 | 131572.5543 | 271917.4082 | 32.55 | 27.7 | #N/A
231621 | 2021-10-29 09:36 | 3.3376 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.7993 | μmol/L | 17.0894 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.886 | 131683.7212 | 271932.635 | 32.55 | 27.7 | #N/A
231630 | 2021-10-29 09:37 | 3.6712 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.4856 | μmol/L | 17.0955 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.901 | 131791.2564 | 271931.5796 | 32.55 | 27.7 | #N/A
231641 | 2021-10-29 09:37 | 4.0043 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.3401 | μmol/L | 17.0955 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.909 | 131890.2255 | 271940.7773 | 32.55 | 27.7 | #N/A
231650 | 2021-10-29 09:37 | 4.3379 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.0534 | μmol/L | 17.0894 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.927 | 131987.8137 | 271945.9293 | 32.55 | 27.7 | #N/A
231661 | 2021-10-29 09:38 | 4.6712 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.8176 | μmol/L | 17.0894 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.94 | 132118.6429 | 271948.7265 | 32.55 | 27.7 | #N/A
231670 | 2021-10-29 09:38 | 5.0046 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.4597 | μmol/L | 17.0894 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.96 | 132213.3077 | 271934.4092 | 32.55 | 27.7 | #N/A
231681 | 2021-10-29 09:38 | 5.3379 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.2246 | μmol/L | 17.0894 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.973 | 132332.9379 | 271945.9429 | 32.55 | 27.7 | #N/A
231691 | 2021-10-29 09:39 | 5.6714 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.962 | μmol/L | 17.0772 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.992 | 132437.3906 | 271960.2412 | 32.55 | 27.7 | #N/A
231701 | 2021-10-29 09:39 | 6.0045 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.6735 | μmol/L | 17.0772 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.008 | 132544.932 | 271958.3342 | 32.55 | 27.7 | #N/A
231711 | 2021-10-29 09:39 | 6.3381 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.4436 | μmol/L | 17.0711 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.023 | 132647.9596 | 271960.8539 | 32.55 | 27.7 | #N/A
231721 | 2021-10-29 09:40 | 6.6717 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.232 | μmol/L | 17.0649 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.037 | 132770.6117 | 271975.2036 | 32.55 | 27.7 | #N/A
231730 | 2021-10-29 09:40 | 7.0043 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.8951 | μmol/L | 17.0588 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.058 | 132920.8549 | 271980.9756 | 32.55 | 27.7 | #N/A
231741 | 2021-10-29 09:40 | 7.3381 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.3937 | μmol/L | 17.0588 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.086 | 133080.7615 | 271975.9038 | 32.55 | 27.7 | #N/A
231750 | 2021-10-29 09:41 | 7.671 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.9513 | μmol/L | 17.0527 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.113 | 133269.2242 | 271982.4331 | 32.55 | 27.7 | #N/A
231760 | 2021-10-29 09:41 | 8.0044 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.3281 | μmol/L | 17.0527 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.148 | 133470.9288 | 271988.9317 | 32.55 | 27.7 | #N/A
231770 | 2021-10-29 09:41 | 8.3377 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.7905 | μmol/L | 17.0344 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.185 | 133712.989 | 272011.0427 | 32.55 | 27.7 | #N/A
231781 | 2021-10-29 09:42 | 8.6716 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.1933 | μmol/L | 17.0283 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.221 | 133977.2549 | 272013.6639 | 32.55 | 27.7 | #N/A
231791 | 2021-10-29 09:42 | 9.0045 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.5319 | μmol/L | 17.016 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.263 | 134237.5277 | 272019.8339 | 32.55 | 27.7 | #N/A
231801 | 2021-10-29 09:42 | 9.3377 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.9475 | μmol/L | 16.9977 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.303 | 134494.3579 | 272022.7616 | 32.55 | 27.7 | #N/A
231810 | 2021-10-29 09:43 | 9.6711 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.2038 | μmol/L | 16.9855 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.35 | 134753.6773 | 272021.3902 | 32.55 | 27.7 | #N/A
231821 | 2021-10-29 09:43 | 10.0049 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 211.6198 | μmol/L | 16.9733 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.388 | 135001.7152 | 272053.5362 | 32.55 | 27.7 | #N/A
231831 | 2021-10-29 09:43 | 10.338 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 211.0899 | μmol/L | 16.961 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.423 | 135248.3768 | 272081.7893 | 32.55 | 27.7 | #N/A
231840 | 2021-10-29 09:44 | 10.6712 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 210.5357 | μmol/L | 16.9366 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.464 | 135471.8562 | 272091.6158 | 32.55 | 27.7 | #N/A
231850 | 2021-10-29 09:44 | 11.0045 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 210.0223 | μmol/L | 16.9305 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.496 | 135719.4413 | 272103.9621 | 32.55 | 27.7 | #N/A
231861 | 2021-10-29 09:44 | 11.3377 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 209.519 | μmol/L | 16.9121 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.532 | 135953.9914 | 272124.6124 | 32.55 | 27.7 | #N/A
231871 | 2021-10-29 09:45 | 11.6715 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 208.8203 | μmol/L | 16.906 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.575 | 136231.7811 | 272135.6796 | 32.55 | 27.7 | #N/A
231880 | 2021-10-29 09:45 | 12.0052 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 208.1288 | μmol/L | 16.8938 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.62 | 136538.1559 | 272143.7292 | 32.55 | 27.7 | #N/A
231890 | 2021-10-29 09:45 | 12.338 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 207.3214 | μmol/L | 16.8816 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.672 | 136872.5854 | 272162.301 | 32.55 | 27.7 | #N/A
231901 | 2021-10-29 09:46 | 12.6714 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 206.581 | μmol/L | 16.8755 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.718 | 137162.1643 | 272158.7768 | 32.55 | 27.7 | #N/A
231911 | 2021-10-29 09:46 | 13.0051 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 206.067 | μmol/L | 16.8632 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.753 | 137370.4998 | 272170.9912 | 32.55 | 27.7 | #N/A
231921 | 2021-10-29 09:46 | 13.3384 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 205.819 | μmol/L | 16.8571 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.77 | 137509.618 | 272193.361 | 32.55 | 27.7 | #N/A
231931 | 2021-10-29 09:47 | 13.6711 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 205.8155 | μmol/L | 16.8388 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.777 | 137566.2087 | 272212.9472 | 32.55 | 27.7 | #N/A
231941 | 2021-10-29 09:47 | 14.0047 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 205.8828 | μmol/L | 16.8388 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.773 | 137565.4327 | 272225.1485 | 32.55 | 27.7 | #N/A
231951 | 2021-10-29 09:47 | 14.3376 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 206.1104 | μmol/L | 16.8266 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.764 | 137523.2407 | 272242.607 | 32.55 | 27.7 | #N/A
231961 | 2021-10-29 09:48 | 14.6717 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 206.3464 | μmol/L | 16.8266 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.75 | 137447.6963 | 272244.747 | 32.55 | 27.7 | #N/A
231970 | 2021-10-29 09:48 | 15.0042 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 206.5701 | μmol/L | 16.8205 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.739 | 137361.9922 | 272254.3584 | 32.55 | 27.7 | #N/A